## SFFD Donnington High Bridge
End Date | ALKALINITY(mg/l CACO3) | AMMONIA(mg/l NH4) | BENTAZONE(µg/l _) | BOD 5 ATU TOTAL(mg/l O) | CARBETAMIDE(µg/l _) | CHEMICAL OXYGEN DEMAND TOTAL(mg/l O) | CHLOROTOLURON(µg/l _) | CLOPYRALID(µg/l _) | FLUFENACET(µg/l _) | MECOPROP(µg/l _) | METALDEHYDE(µg/l _) | METAZACHLOR(µg/l _) | Methyl Chlorophenoxy Acetic acid (MCPA)(µg/l _) | NITRATE(mg/l NO3) | NITRATE / NITRITE COMBINATION(_ _) | NITRATE/NITRITE COMBINED(_ _) | NITRITE(mg/l NO2) | OXYGEN DISSOLVED(mg/l O) | PH(pH _) | PHOSPHATE ORTHO(mg/l P) | PHOSPHORUS TOTAL SETTLED(mg/l P) | PROPYZAMIDE(µg/l _) | QUINMERAC(µg/l _) | SOLIDS PARTICULATE (105C) SUSPENDED(mg/l _) | TEMPERATURE C(°C _) | TOTAL OXIDISED NITROGEN(mg/l N) | TOTAL PESTICIDES(µg/l _) | TRIALLATE(ng/l _) | TURBIDITY(NTU _)
2021-09-03 09:33 |  |  | 0.024 |  | < 0.014 |  | < 0.010 | 0.015 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.003 | < 7.526 | 0.14 | 0.043 | 0.128 | 8.3 |  |  | 0.432 | 0.045 | < 0.013 |  | 15.6 | 1.17 | 0.084
2021-09-09 09:17 |  |  | 0.019 |  | < 0.014 |  | < 0.010 | 0.007 | < 0.010 | < 0.006 | 0.01 | < 0.030 | < 0.003 | < 7.526 | 0.08 | 0.026 | 0.077 | 6.87 |  |  | 0.4 | 0.022 | < 0.013 |  | 19.3 | 0.612 | 0.058
2021-09-17 09:28 |  |  | 0.015 |  | < 0.014 |  | < 0.010 | 0.014 | < 0.010 | 0.223 | 0.012 | < 0.030 | < 0.003 | < 7.526 | 0.09 | 0.025 | 0.075 | 7.41 |  |  | 0.324 | 0.007 | < 0.013 |  | 16.5 | 0.725 | 0.271
2021-09-22 10:05 |  |  | 0.016 |  | < 0.014 |  | < 0.010 | 0.007 | < 0.010 | 0.043 | 0.012 | < 0.030 | < 0.003 | < 7.526 | 0.06 | 0.023 | 0.069 | 9.36 |  |  | 0.273 | 0.007 | < 0.013 |  | 16.1 | 0.43 | 0.085
2021-10-01 10:55 |  |  | 0.014 |  | < 0.014 |  | < 0.010 | 0.005 | < 0.010 | < 0.006 | 0.01 | < 0.030 | < 0.003 | < 7.526 | 0.15 | 0.027 | 0.08 | 8.34 |  |  | 0.272 | 0.009 | < 0.013 |  | 13.9 | 1.39 | 0.038
2021-10-08 09:44 |  |  | 0.05 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.09 | 0.006 | 0.012 | < 0.030 | 0.032 | 27.2 | 0.62 | 0.624 | 0.239 | 8.83 |  |  | 0.162 | 0.011 | < 0.013 |  | 13.2 | 6.23 | 0.201
2021-10-14 10:18 |  |  | 0.067 |  | < 0.014 |  | < 0.010 | 0.038 | 0.041 | < 0.006 | 0.015 | < 0.030 | 0.035 | 12.2 | 0.33 | 0.325 | 0.244 | 10.4 |  |  | 0.198 | 0.01 | < 0.013 |  | 13.1 | 2.83 | 0.206
2021-10-22 09:57 |  |  | 0.048 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.017 | 0.007 | 0.026 | < 0.030 | < 0.008 | < 7.526 | 0.1 | 0.035 | 0.105 | 8.22 |  |  | 0.15 | 0.007 | < 0.013 |  | 11.1 | 0.789 | 0.105
2021-10-25 10:22 |  |  | 0.036 |  | < 0.014 |  | < 0.010 | 0.021 | 0.025 | 0.007 | 0.023 | < 0.030 | < 0.008 | < 7.526 | 0.19 | 0.062 | 0.186 | 9.16 |  |  | 0.19 | 0.008 | < 0.013 |  | 10.4 | 1.5 | 0.12
2021-11-05 09:55 |  |  | 0.053 |  | < 0.014 |  | < 0.010 | 0.025 | 0.121 | 0.009 | 0.036 | < 0.030 | < 0.008 | 12.7 | 0.36 | 0.362 | 0.325 | 10.2 |  |  | 0.192 | 0.027 | < 0.013 |  | 5.5 | 2.97 | 0.271
2021-11-10 10:19 |  |  | 0.055 |  | < 0.014 |  | < 0.010 | 0.021 | 0.242 | 0.008 | 0.03 | < 0.030 | < 0.008 | 11.6 | 0.31 | 0.314 | 0.245 | 9.89 |  |  | 0.143 | 0.022 | < 0.013 |  | 9.8 | 2.7 | 0.378
2021-11-15 10:19 |  |  | 0.046 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.037 | 0.008 | 0.061 | < 0.030 | < 0.008 | 8.82 | 0.26 | 0.258 | 0.244 | 8.37 |  |  | 0.151 | 0.037 | < 0.013 |  | 10.5 | 2.07 | 0.189
2021-11-25 09:01 |  |  | 0.046 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.026 | 0.012 | 0.03 | < 0.030 | < 0.008 | 11.3 | 0.28 | 0.274 | 0.145 | 8.24 |  |  | 0.183 | 0.02 | < 0.013 |  | 4.6 | 2.6 | 0.134
2021-12-03 10:10 |  |  | 0.04 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.492 | 0.01 | 0.021 | < 0.030 | < 0.008 | 10.4 | 0.24 | 0.237 | 0.088 | 10.9 |  |  | 0.182 | 0.176 | < 0.013 |  | 3.3 | 2.38 | 0.739
2021-12-10 10:31 |  |  | 0.071 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.769 | 0.096 | 0.015 | < 0.030 | < 0.008 | 63.4 | 1.34 | 1.339 | 0.212 | 9.69 |  |  | 0.211 | 0.328 | < 0.013 |  | 4.7 | 14.4 | 1.279
2021-12-17 10:08 |  |  | 0.06 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.119 | 0.011 | 0.016 | < 0.030 | < 0.008 | 28.8 | 0.63 | 0.625 | 0.148 | 8.63 |  |  | 0.167 | 0.097 | < 0.013 |  | 4.7 | 6.55 | 0.303
2021-12-23 09:25 |  |  | 0.056 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.066 | 0.01 | 0.013 | < 0.030 | < 0.008 | 23.2 | 0.51 | 0.513 | 0.146 | 9.18 |  |  | < 0.140 | 0.087 | < 0.013 |  | 3.9 | 5.28 | 0.232
2021-12-28 09:11 |  |  | 0.049 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.46 | 0.007 | 0.013 | < 0.030 | < 0.008 | 66.9 | 1.38 | 1.376 | 0.114 | 8.96 |  |  | 0.141 | 0.357 | < 0.013 |  | 7 | 15.1 | 0.886
2022-01-07 10:01 |  |  | 0.057 |  | < 0.014 |  | < 0.010 | 0.023 | 0.048 | 0.049 | < 0.008 | < 0.030 | < 0.008 | 53.5 | 1.12 | 1.121 | 0.153 | 10.9 |  |  | < 0.140 | 0.055 | < 0.013 |  | 1.7 | 12.1 | 0.232
2022-01-14 10:12 |  |  | 0.048 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.037 | 0.007 | 0.011 | < 0.030 | < 0.008 | 41.6 | 0.88 | 0.884 | 0.155 | 10.4 |  |  | < 0.140 | 0.027 | < 0.013 |  | 2.4 | 9.43 | 0.13
2022-01-20 10:26 |  |  | 0.045 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.024 | 0.006 | 0.009 | < 0.030 | < 0.008 | 29.6 | 0.63 | 0.632 | 0.119 | 10.8 |  |  | < 0.140 | 0.016 | < 0.013 |  | 2.2 | 6.73 | 0.1
2022-01-30 12:16 |  |  | 0.043 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.02 | 0.008 | < 0.008 | < 0.030 | < 0.008 | 27.2 | 0.58 | 0.58 | 0.108 | 11 |  |  | < 0.140 | 0.016 | < 0.013 |  | 5.6 | 6.17 | 0.087
2022-02-01 12:43 |  |  | 0.041 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.011 | 0.009 | < 0.008 | < 0.030 | < 0.008 | 17 | 0.37 | 0.365 | 0.076 | 11.8 |  |  | < 0.140 | 0.013 | < 0.013 |  | 5.5 | 3.87 | 0.074
2022-02-08 11:46 |  |  | 0.053 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.047 | 0.015 | < 0.008 | < 0.030 | < 0.008 | 18.4 | 0.39 | 0.395 | 0.08 | 11.3 |  |  | < 0.140 | 0.026 | < 0.013 |  | 6.9 | 4.18 | 0.141
2022-02-15 13:27 |  |  | 0.052 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.072 | 0.013 | < 0.008 | < 0.030 | < 0.008 | 22.8 | 0.48 | 0.484 | 0.083 | 10.8 |  |  | < 0.140 | 0.035 | < 0.013 |  | 5.5 | 5.17 | 0.172
2022-02-23 12:07 |  |  | 0.045 |  | < 0.014 |  | < 0.010 | 0.019 | 0.061 | 0.007 | < 0.008 | < 0.030 | < 0.008 | 52.8 | 1.08 | 1.084 | 0.085 | 10.9 |  |  | < 0.140 | 0.034 | < 0.013 |  | 6.5 | 11.9 | 0.166
2022-03-05 11:39 |  |  | 0.053 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.049 | 0.01 | < 0.008 | < 0.030 | < 0.008 | 38.4 | 0.8 | 0.797 | 0.088 | 11 |  |  | < 0.140 | 0.019 | < 0.013 |  | 7 | 8.69 | 0.131
2022-03-13 12:57 |  |  | 0.058 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.021 | 0.009 | < 0.008 | < 0.030 | < 0.008 | 32.4 | 0.68 | 0.676 | 0.084 | 13.3 |  |  | < 0.140 | 0.011 | < 0.013 |  | 9.1 | 7.33 | 0.099
2022-03-28 10:15 |  |  | 0.034 |  | < 0.014 |  | < 0.010 | < 0.018 |  | 0.009 | < 0.008 | < 0.030 | < 0.008 | 28.3 | 0.59 | 0.594 | 0.085 |  |  |  | < 0.140 | 0.01 | < 0.013 |  | 10.4 | 6.41 | 0.053
2022-04-08 11:34 |  |  | 0.045 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.025 | 0.018 | < 0.008 | < 0.030 | < 0.008 | 22.7 | 0.5 | 0.498 | 0.132 | 9.69 |  |  | < 0.140 | 0.011 | < 0.013 |  | 8.9 | 5.18 | 0.099
2022-04-22 10:04 |  |  | 0.032 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | 0.007 | < 0.008 | < 0.030 | < 0.008 | 8.61 | 0.2 | 0.2 | 0.082 | 10.6 |  |  | < 0.140 | 0.009 | < 0.013 |  | 13.4 | 1.97 | 0.048
2022-05-06 09:55 |  |  | 0.036 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | 0.009 | < 0.008 | < 0.030 | < 0.008 | < 7.526 | 0.12 | 0.019 | 0.058 | 10.1 |  |  | < 0.140 | 0.005 | < 0.013 |  | 15.3 | 1.12 | 0.05
2022-06-30 09:34 |  |  | 0.054 |  | < 0.014 |  | < 0.010 | 0.02 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | < 7.526 | 0.12 | 0.066 | 0.198 | 14.5 |  |  | 0.206 | 0.005 | < 0.013 |  | 18.5 | 0.62 | 0.079
2022-07-28 12:42 |  |  | 0.016 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | 0.011 |  |  |  |  | 11.8 |  |  | 0.633 | < 0.004 | < 0.013 |  | 20.4 |  | 0.027
2022-08-24 08:32 |  |  | 0.021 |  | < 0.014 |  | < 0.010 | < 0.072 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | < 7.526 | 0.11 | 0.045 | 0.135 | 3.91 |  |  | 1.57 | < 0.004 | < 0.013 |  | 20.6 | 0.763 | 0.021
2022-09-01 09:24 |  |  | 0.013 |  | < 0.014 |  | < 0.010 | < 0.072 | < 0.010 | < 0.006 | < 0.008 | 0.06 | < 0.008 | < 7.526 | 0.1 | 0.046 | 0.138 | 8.96 |  |  | 0.44 | < 0.004 | < 0.013 |  | 16.5 | 0.64 | 0.073
2022-09-07 11:10 |  |  | 0.013 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | < 7.526 | 0.13 | 0.046 | 0.137 | 10.7 |  |  | 0.513 | < 0.004 | < 0.013 |  | 19 | 1.01 | 0.013
2022-09-16 09:04 |  |  | 0.012 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | < 7.526 | 0.13 | 0.045 | 0.134 | 10.5 |  |  | 0.667 | < 0.004 | < 0.013 |  | 15.9 | 1.04 | 0.012
2022-09-25 09:49 |  |  | 0.01 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | 0.011 | < 7.526 | 0.1 | 0.036 | 0.107 | 9.09 |  |  | 0.666 | < 0.004 | < 0.013 |  | 13.4 | 0.74 | 0.021
2022-09-29 08:43 |  |  | 0.01 |  | < 0.014 |  | < 0.010 | 0.024 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | < 7.526 | 0.09 | 0.024 | 0.073 | 9.48 |  |  | 0.744 | < 0.004 | < 0.013 |  | 12.2 | 0.746 | 0.034
2022-10-05 08:19 |  |  | 0.022 |  | < 0.014 |  | < 0.010 | 0.027 | < 0.010 | 0.012 | 0.008 | < 0.030 | 0.009 | < 7.526 | 0.02 | 0 | < 0.0300 | 0.81 |  |  | 2.44 | < 0.004 | < 0.013 |  | 14.7 | 0.2 | 0.078
2022-10-10 11:05 |  |  | 0.028 |  | < 0.014 |  | < 0.010 | 0.047 | < 0.010 | 0.016 | 0.01 | < 0.030 | 0.009 | < 7.526 | 0.08 | 0.03 | 0.09 | 8.8 |  |  | 2.17 | < 0.004 | < 0.013 |  | 12.5 | 0.589 | 0.11
2022-10-21 10:07 |  |  |  |  | < 0.014 |  | < 0.010 |  | < 0.010 |  | 0.011 | < 0.030 |  | < 7.526 | 0.18 | 0.034 | 0.102 | 11.1 |  |  | 2.11 |  | < 0.013 |  | 11.7 | 1.65 | 0.011
2022-10-29 08:29 |  |  | 0.02 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.039 | 0.01 | 0.015 | < 0.030 | 0.226 |  |  |  |  | 6.63 |  |  | 0.356 | 0.006 | < 0.013 |  | 12.8 |  | 0.316
2022-11-02 07:59 |  |  | 0.21 |  | < 0.014 |  | < 0.010 | 0.019 | 0.039 | < 0.006 | 0.018 | < 0.030 | 0.053 | 13.472 |  | 0.588 | 0.956 | 7.09 |  |  | 0.31 | 0.022 | < 0.013 |  | 11 |  | 0.361
2022-11-12 11:36 |  |  | 0.067 |  | < 0.014 |  | < 0.010 | 0.031 | 0.023 | 0.012 | 0.016 | < 0.030 | < 0.008 | 25.093 |  | 0.698 | 0.588 | 11.98 |  |  | 0.21 | 0.028 | < 0.013 |  | 11.2 |  | 0.177
2022-11-17 11:28 | [13 empty] | 28.733 |  |  | 0.647 | 8.72 |  |  | 0.221 |  |  |  | 8.9
2022-11-22 11:49 |  |  | 0.138 |  | < 0.014 |  | < 0.010 | < 0.072 | 0.232 | < 0.006 | 0.011 | < 0.030 | 0.045 | 75.418 |  | 1.54 | 0.096 | 9 |  |  | 0.193 | 0.596 | < 0.013 |  | 8.3 |  | 1.022
2022-12-01 11:12 |  |  | 0.083 |  | < 0.014 |  | < 0.010 | < 0.072 | 0.026 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | 69.536 |  | 1.622 | 0.695 | 8.92 |  |  | < 0.140 | 0.042 | < 0.013 |  | 6.7 |  | 0.151
2022-12-09 11:19 |  |  | 0.087 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.191 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | 68.237 |  | 1.467 | 0.308 | 10.85 |  |  | < 0.140 | 0.041 | < 0.013 |  | 1.8 |  | 0.319
2022-12-12 11:23 |  |  | < 0.008 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.022 | < 0.012 | < 0.008 | < 0.030 | < 0.008 | 50.44 | 1.14 | 1.14 | 0.392 |  |  |  | < 0.140 | < 0.004 | < 0.013 |  | 1.5 |  | 0.022
2022-12-24 09:07 |  |  | 0.07 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.144 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | 61.729 |  | 1.271 | 0.109 | 9.68 |  |  | < 0.140 | 0.647 | < 0.013 |  | 5.5 |  | 0.861
2022-12-31 08:25 |  |  | 0.068 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.016 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | 67.884 |  | 1.429 | 0.215 | 9.64 |  |  | < 0.140 | 0.057 | < 0.013 |  | 7 |  | 0.141
2023-01-06 08:20 |  |  | 0.075 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.019 | < 0.006 | < 0.008 | < 0.030 | < 0.008 |  |  |  | 0.233 | 9.89 |  |  | < 0.140 | 0.069 | < 0.013 |  | 7.7 |  | 0.163
2023-01-13 11:46 |  |  | 0.085 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.027 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | 66.871 |  | 1.415 | 0.234 | 9.92 |  |  | < 0.140 | 0.071 | < 0.013 |  | 6.6 |  | 0.183
2023-01-21 12:25 |  |  | 0.088 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.015 | < 0.006 | 0.01 | < 0.030 | < 0.008 | 58.424 |  | 1.215 | 0.14 | 11.06 |  |  | < 0.140 | 0.027 | < 0.013 |  | 0.8 |  | 0.14
2023-01-27 11:51 |  |  | 0.081 |  | < 0.014 |  | < 0.010 | 0.019 | < 0.010 | 0.008 | < 0.008 | < 0.030 | < 0.008 | 46.266 |  | 0.979 | 0.161 | 11.3 |  |  | < 0.140 | 0.019 | < 0.013 |  | 3.5 |  | 0.127
2023-02-03 11:01 |  |  | 0.115 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | 0.007 | < 0.008 | < 0.030 | < 0.008 | 37.377 |  | 0.812 | 0.194 | 11.43 |  |  | < 0.140 | 0.012 | < 0.013 |  | 6.1 |  | 0.134
2023-02-09 10:48 |  |  | 0.155 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | 0.008 | < 0.008 |  | < 0.008 | 30.505 |  |  | 0.134 | 11.38 |  |  | < 0.140 | 0.012 | < 0.013 |  | 2.3
2023-02-17 11:30 |  |  | 0.122 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | 0.011 | < 0.008 | < 0.030 | < 0.008 | 29.974 |  | 0.63 | 0.091 | 11.32 |  |  | 0.253 | 0.018 | < 0.013 |  | 8.8 |  | 0.151
2023-03-03 11:07 |  |  | 0.117 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.015 | 0.008 | < 0.008 | < 0.030 | < 0.008 | 14.503 |  | 0.308 | 0.053 | 13.08 |  |  | < 0.140 | 0.011 | < 0.013 |  | 5.9 |  | 0.151
2023-02-23 10:20 |  |  | 0.158 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | 0.007 | < 0.008 | < 0.030 | < 0.008 |  |  |  | 0.074 | 11.54 |  |  | 0.169 | 0.017 | < 0.013 |  | 7.1 |  | 0.182
2023-03-10 10:19 |  |  | 0.043 |  | 0.098 |  | < 0.010 | < 0.018 | 0.049 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | 59.649 |  | 1.219 | 0.079 | 10.91 |  |  | 0.188 | 0.435 | < 0.013 |  | 3.3 |  | 0.625
2023-03-24 08:14 |  |  | 0.057 |  | < 0.014 |  | < 0.010 | 0.039 | 0.012 | < 0.006 | < 0.008 | < 0.030 |  | 42.673 |  |  | 0.162 | 8.91 |  |  | < 0.140 |  | < 0.013 |  | 9.3
2023-04-05 07:55 |  |  | 0.054 |  | < 0.014 |  | < 0.010 | 0.02 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | 38.151 |  | 0.802 | 0.116 |  |  |  | < 0.140 | 0.022 | < 0.013 |  | 9.4 | 8.65 | 0.096
2023-04-24 11:44 |  |  | 0.07 |  | < 0.014 |  | < 0.010 | 0.019 | 0.01 | 0.011 | < 0.008 | < 0.030 | 0.026 | 25.812 |  | 0.571 | 0.163 | 10.86 |  |  | < 0.140 | 0.014 | < 0.013 |  | 11.3 | 5.878 | 0.15
2023-05-18 11:37 |  |  | 0.441 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | 0.014 | < 0.008 | < 0.030 | 0.043 | 11.683 |  | 0.288 | 0.164 | 13.21 |  |  | < 0.140 | 0.009 | < 0.013 |  | 15.3 | 2.688 | 0.507
2023-06-28 09:13 |  |  | 0.028 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | 0.022 | < 0.008 | < 0.030 | 0.028 | < 7.526 |  | 0.029 | 0.088 | 6.87 |  |  | 0.285 | 0.005 | < 0.013 |  | 20.6 | 1.092 | 0.083
2023-07-28 12:03 |  |  | 0.017 |  | < 0.014 |  | < 0.010 | 0.056 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | 0.008 | < 7.526 |  | 0.016 | 0.048 | 10.7 |  |  | 0.272 | 0.005 | < 0.013 |  | 19 | 0.487 | 0.086 | < 20.00
2023-08-17 11:25 |  |  | 0.061 |  | < 0.014 |  | < 0.010 | 0.019 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.008 |  |  |  |  | 11.51 |  |  | 0.55 | 0.004 | < 0.013 |  | 19.2 |  | 0.084 | < 20.00
2023-09-06 15:42 | [8 empty] | < 0.010 |  |  | < 0.030 |  | < 7.526 |  |  | 0.068 |  |  |  | 0.486 |  | < 0.013 |  | 22.6 | 0.665 |  | < 20.00
2023-09-16 07:39 |  |  | 0.014 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | 0.008 | < 7.526 |  | 0.042 | 0.126 | 5.3 |  |  | 0.605 | < 0.004 | < 0.013 |  | 17.6 | 0.48 | 0.022 | < 20.00
2023-09-23 10:04 | [8 empty] | < 0.010 |  |  | < 0.030 |  | < 7.526 |  |  | 0.196 |  |  |  | 0.246 |  | < 0.013 |  | 14.8 | 1.044 |  | < 20.00
2023-09-16 11:02 | [16 empty] | 0.127
2023-09-27 11:06 |  |  | 0.045 |  | < 0.014 |  | < 0.010 | 0.04 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | < 7.526 | 0.23 | 0.078 | 0.234 | 10.44 |  |  | 0.177 | 0.004 | < 0.013 |  | 15.3 | 1.123 | 0.089 | < 20.00
2023-10-06 10:24 |  |  | 0.024 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | < 7.526 |  | 0.056 | 0.168 | 6.93 |  |  | 0.195 | < 0.004 | < 0.013 |  | 14.6 | 0.671 | 0.024 | < 0.02
2023-10-10 08:14 |  |  | 0.029 |  | < 0.014 |  | < 0.010 | < 0.036 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | < 7.526 |  | 0.062 | 0.186 | 8.91 |  |  | 0.267 | < 0.004 | < 0.013 |  | 15.6 | 0.875 | 0.029 | 50
2023-10-18 10:57 |  |  | 0.048 |  | < 0.014 |  | < 0.010 | 0.021 | 0.187 | 0.023 | < 0.008 | < 0.030 | 0.017 | 26.614 |  | 0.647 | 0.343 | 9.46 |  |  | 0.21 | 0.007 | < 0.013 |  | 9.7 | 6.114 | 0.303 | 90
2023-10-18 10:54 |  |  | 0.047 |  | < 0.014 |  | < 0.010 | 0.021 |  | 0.025 | < 0.008 |  | 0.018 |  |  |  |  | 8.31 |  |  |  | 0.007 |  |  |  |  | 0.118
2023-11-01 10:01 |  |  | 0.058 |  | < 0.014 |  | < 0.010 | 0.021 | 0.378 | 0.009 | 0.015 | < 0.030 | < 0.008 | 59.718 |  | 1.281 | 0.261 | 7.78 |  |  | < 0.140 | 0.049 | < 0.013 |  | 11 | 13.564 | 0.53 | 100
2023-10-24 09:37 | [13 empty] | 52.428 | 1.19 |  | 0.419 | 5.93 |  |  | < 0.140 |  |  |  | 11.4 | 11.966 |  | 140
2023-11-07 13:32 |  |  | 0.05 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.086 | 0.007 | 0.009 | < 0.030 | < 0.008 | 55.296 |  | 1.258 | 0.456 | 9.11 |  |  | < 0.140 | 0.016 | < 0.013 |  | 9.2 | 12.625 | 0.168 | 100
2023-11-14 12:33 |  |  | 0.061 |  | < 0.014 |  | < 0.010 | 0.033 | 0.146 | 0.006 | 0.026 | < 0.030 | < 0.008 | 45.26 | 1.02 | 1.023 | 0.352 | 10.6 |  |  | < 0.140 | 0.375 | < 0.013 |  | 8.9 | 10.327 | 0.647 | 80
2023-11-21 12:34 |  |  | 0.052 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.069 | < 0.006 | 0.01 | < 0.030 | < 0.008 | 48.987 |  | 1.094 | 0.343 | 9.58 |  |  | < 0.140 | 0.176 | < 0.013 |  | 9.5 | 11.166 | 0.307 | 70
2023-11-29 09:55 |  |  | 0.053 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.155 | 0.009 | 0.013 | < 0.030 | < 0.008 | 54.719 |  | 1.143 | 0.145 | 9.03 |  |  | < 0.140 | 0.595 | 0.026 |  | 5.7 | 12.4 | 0.851 | 110
2023-12-05 09:48 |  |  | 0.051 |  | < 0.014 |  | < 0.010 | 0.018 | 0.414 | < 0.006 | 0.013 | < 0.030 | < 0.008 | 40.826 |  | 0.833 | 0.05 | 9.31 |  |  | 0.17 | 1.448 | 0.022 |  | 6 | 9.234 | 1.966 | 600
2023-12-12 09:46 |  |  | 0.054 |  | < 0.014 |  | < 0.010 | 0.024 | 0.13 | 0.007 | < 0.008 | < 0.030 | < 0.008 | 55.061 |  | 1.153 | 0.154 | 8.79 |  |  | < 0.140 | 0.481 | 0.013 |  | 7.3 | 12.48 | 0.709 | 210
2023-12-19 12:07 |  |  | 0.06 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.032 | 0.006 | 0.016 | < 0.030 | < 0.008 | 48.862 |  | 1.069 | 0.275 | 8.82 |  |  | < 0.140 | 0.075 | < 0.013 |  | 8.6 | 11.117 | 0.189 | 90
2023-12-29 08:35 |  |  | 0.058 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.053 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | 43.232 |  | 0.922 | 0.171 | 9.71 |  |  | < 0.140 | 0.117 | < 0.013 |  | 6.5 | 9.814 | 0.228 | 100
2024-01-19 12:11 |  |  | 0.096 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.015 | 0.009 | < 0.008 | < 0.030 | < 0.008 | 47.729 |  | 1.013 | 0.176 | 10.9 |  |  | < 0.140 | 0.071 | < 0.013 |  | < 0.0 |  | 0.191
2024-01-02 09:37 |  |  | 0.052 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.134 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | 39.368 |  | 0.815 | 0.084 | 9.32 |  |  | 0.21 | 0.127 | < 0.013 |  | 7.4 |  | 0.313
2024-01-26 11:36 | 280.00 | 0.2620 | 0.108 | 1.67 | < 0.014 | 24 | < 0.010 | 0.02 | 0.025 | 0.01 | < 0.008 | < 0.030 | < 0.008 | 34.676 |  | 0.769 | 0.227 | 10.66 | 8 | < 0.0550 | < 0.140 | 0.246 | < 0.013 | 10 | 6.3 | 7.899 | 0.409 | 40 | 11.13
2024-01-31 10:35 | 282.00 | 0.4020 | 0.084 | 1.15 | < 0.014 | 23.3 | < 0.010 | < 0.018 | < 0.010 | 0.013 | < 0.008 | < 0.030 | < 0.008 | 33.831 |  | 0.752 | 0.226 |  | 7.96 | < 0.0550 | < 0.140 | 0.04 | < 0.013 | 12 | 4.1 | 7.708 | 0.137 |  | 13.41
2024-02-06 09:17 | 295.00 | 0.1470 | 0.085 | 1.21 | < 0.014 | 23.9 | < 0.010 | < 0.018 | 0.01 | 0.019 | < 0.008 | < 0.030 | < 0.008 | 20.283 |  | 0.447 | 0.125 | 10.5 | 8.21 | < 0.0550 | < 0.140 | 0.053 | < 0.013 | 17 | 8.6 | 4.618 | 0.167 | < 20.00 | 14.52
2024-02-14 11:34 | 222.00 | 0.3990 | 0.091 | 1.38 | < 0.014 | 31.4 | < 0.010 | < 0.018 | 0.086 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | 48.281 |  | 0.991 | 0.075 | 9.89 | 7.57 | < 0.0550 | < 0.140 | 0.788 | < 0.013 | 52 | 7.8 | 10.925 | 0.965 | 150 | 61.1
2024-02-21 13:00 | 268.00 | 0.3230 | 0.092 | 4.47 | < 0.014 | 33 | < 0.010 | < 0.018 | 0.024 | 0.007 | < 0.008 | < 0.030 | < 0.008 | 45.886 |  | 0.967 | 0.147 | 9.89 | 7.76 | < 0.0550 | < 0.140 | 0.16 | < 0.013 | 39 | 8.8 | 10.406 | 0.283 | 90 | 37.1
2024-02-27 12:31 | 288.00 | 0.2500 | 0.098 | 1.34 | < 0.014 | 26.9 | < 0.010 | 0.023 | 0.018 | 0.011 | < 0.008 | < 0.030 | < 0.008 | 40.976 |  | 0.869 | 0.149 | 10.09 | 7.77 | < 0.0550 | < 0.140 | 0.212 | < 0.013 | 16 | 6.5 | 9.298 | 0.362 | 60 | 15.69
2024-03-05 11:35 | 277.00 | 0.2690 | 0.09 | 1.41 | < 0.014 | 26.4 | < 0.010 | 0.038 |  | 0.01 | < 0.008 |  | < 0.008 | 40.452 |  |  | 0.157 | 10.95 | 7.89 | < 0.0550 | < 0.140 | 0.057 |  | 9 | 6.8 | 9.182 |  | 70 | 16.9
2024-03-28 10:18 | 279.00 | < 0.1400 | 0.098 | 1.48 | < 0.014 | 22.8 | < 0.010 | 0.035 |  | 0.009 | < 0.008 | < 0.030 | 0.011 | 27.86 |  |  | 0.109 | 11.53 | 8.1 | < 0.0550 | < 0.140 | 0.03 | < 0.013 | 13 | 9 | 6.324 |  | < 20.00 | 15.9
2024-04-03 12:12 | 256.00 | < 0.1400 | 0.042 | 1.6 | < 0.014 | 29 | < 0.010 | 0.019 | < 0.010 | 0.009 | < 0.008 | < 0.030 | 0.011 | 19.427 |  | 0.423 | 0.103 | 11.23 | 7.97 | < 0.0550 | < 0.140 | 0.01 | < 0.013 | 16 | 11.8 | 4.418 | 0.091 | < 20.00 | 10.2
2024-04-02 11:57 | [8 empty] | 0.011 |  |  | < 0.030 | [10 empty] | < 0.013 |  |  |  | 0.011
2024-04-20 14:16 | 291.00 | < 0.1400 | 0.066 | 1.81 | < 0.014 | 22.5 | < 0.010 | < 0.018 | < 0.010 | 0.019 | < 0.008 | < 0.030 | 0.025 | 17.344 |  | 0.374 | 0.081 | 11.54 | 8.25 | < 0.0550 | < 0.140 | 0.014 | < 0.013 | 9 | 10.2 | 3.941 | 0.124 | 30 | 3.56
2024-04-30 09:13 | [8 empty] | 0.287 |  |  | < 0.030 | [10 empty] | < 0.013 |  | 11.2 |  | 0
2024-05-01 10:05 | 239.00 | < 0.1400 | 0.088 | 1.22 | < 0.014 | 29.8 | < 0.010 | 0.028 | 0.109 | 0.016 | < 0.008 | < 0.030 | < 0.008 | 38.684 |  | 0.831 | 0.171 | 11.26 | 8.27 | < 0.0550 | < 0.140 | 0.012 | < 0.013 | < 2 | 14.6 | 8.787 | 0.253 | 30 | 6.09
2024-06-22 08:10 |  | < 0.1400 | 0.061 | 2.29 | < 0.014 | 24.1 | < 0.010 | 0.034 | < 0.010 | 0.015 | < 0.008 | < 0.030 | 0.022 | 7.696 |  | 0.194 | 0.119 | 12.75 | 8.18 | < 0.0550 | < 0.140 | 0.008 | < 0.013 | 8 | 19.5 | 1.774 | 0.14 | < 20.00 | 2.69
2024-07-25 13:25 | 260.00 | < 0.1400 | 0.094 | 1.75 | < 0.014 | 28.4 | < 0.010 | 0.281 | < 0.010 | 0.026 | < 0.008 | < 0.030 | 0.263 | < 7.526 |  | 0.08 | 0.241 | 14.03 | 8.37 | < 0.0550 | < 0.140 | 0.009 | 0.063 | 13 | 20.5 | 1.582 | 0.736 | < 20.00 | 0.91
2024-08-19 09:52 | 235.00 | < 0.1400 | 0.032 | 1.5 | < 0.014 | 32.6 | < 0.010 | 0.023 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | < 7.526 |  | 0.034 | 0.102 | 12.97 | 8.29 | 0.17 | 0.191 | 0.005 | < 0.013 | 4 | 17.4 | 1.098 | 0.06 | < 20.00 | 0.97
2024-09-04 11:52 | 223.37 | 0.1710 | 0.02 | 1.63 | < 0.014 | 15.7 | < 0.010 | < 0.018 |  | < 0.006 | < 0.008 |  | < 0.008 | < 7.526 |  | 0.038 | 0.115 | 7.85 | 7.85 | 0.171 | 0.228 | 0.004 |  | 11 | 18.1 | 1.036 | 0.024 |  | 0.82
2024-09-12 08:38 | 256.00 | < 0.1400 |  |  |  | 23.7 |  |  |  |  | < 0.008 |  |  | < 7.526 |  | 0.053 | 0.158 | 7.66 | 7.92 | 0.199 | 0.298 |  |  | 3 | 13.3 | 0.549 | 0 |  | 1.51

## SFFD Swineshead Bridge
End Date | ALKALINITY(mg/l CACO3) | AMMONIA(mg/l NH4) | BENTAZONE(µg/l _) | BOD 5 ATU TOTAL(mg/l O) | CARBETAMIDE(µg/l _) | CHEMICAL OXYGEN DEMAND TOTAL(mg/l O) | CHLOROTOLURON(µg/l _) | CLOPYRALID(µg/l _) | FLUFENACET(µg/l _) | MECOPROP(µg/l _) | METALDEHYDE(µg/l _) | METAZACHLOR(µg/l _) | Methyl Chlorophenoxy Acetic acid (MCPA)(µg/l _) | NITRATE(mg/l NO3) | NITRATE / NITRITE COMBINATION(_ _) | NITRATE/NITRITE COMBINED(_ _) | NITRITE(mg/l NO2) | OXYGEN DISSOLVED(mg/l O) | PH(pH _) | PHOSPHATE ORTHO(mg/l P) | PHOSPHORUS TOTAL SETTLED(mg/l P) | PROPYZAMIDE(µg/l _) | QUINMERAC(µg/l _) | SOLIDS PARTICULATE (105C) SUSPENDED(mg/l _) | TEMPERATURE C(°C _) | TOTAL OXIDISED NITROGEN(mg/l N) | TOTAL PESTICIDES(µg/l _) | TRIALLATE(ng/l _) | TURBIDITY(NTU _)
2021-09-03 10:24 | 275 | < 0.1400 | [15 empty] | 7.93 | 7.95 |  | 0.501 |  |  |  | 16.9 |  | 0.35
2021-09-03 10:24 | [17 empty] | 6.15 | [6 empty] | 16.9 |  |  |  | 4.46
2021-09-03 10:24 |  |  | 0.048 |  | < 0.014 |  | < 0.010 | 0.016 | < 0.010 | 0.011 | 0.016 | < 0.030 | 0.042 | < 7.526 | 0.04 | 0 | < 0.0300 | 6.12 |  |  | 0.535 | 0.018 | < 0.013 |  | 16.9 | 0.396 | 0.151
2021-09-09 08:41 |  |  | 0.038 |  | < 0.014 |  | < 0.010 | 0.015 | < 0.010 | 0.007 | 0.014 | < 0.030 | 0.011 | < 7.526 | 0.03 | 0 | < 0.0300 | 8.8 |  |  | 0.422 | 0.106 | < 0.013 |  | 19.1 | 0.366 | 0.191
2021-09-17 09:02 | [17 empty] | 7.72 | [6 empty] | 16.9 |  |  |  | 2.6
2021-09-17 09:02 |  |  | 0.027 |  | < 0.014 |  | < 0.010 | 0.031 | < 0.010 | < 0.006 | 0.012 | < 0.030 | 0.003 | < 7.526 | 0.03 | 0 | < 0.0300 | 7.89 |  |  | 0.717 | 0.034 | < 0.013 |  | 16.9 | 0.324 | 0.107
2021-09-22 09:01 |  |  | 0.025 |  | < 0.014 |  | < 0.010 | 0.004 | < 0.010 | < 0.006 | 0.017 | < 0.030 | 0.004 | < 7.526 | 0 | 0 | < 0.0300 | 8.56 |  |  | 0.628 | 0.016 | < 0.013 |  | 16 | 0.057 | 0.066
2021-10-01 09:27 | [17 empty] | 3.23 | [6 empty] | 14.3 |  |  |  | 2.09
2021-10-01 09:27 | 278 | 0.958 | [15 empty] | 3.19 | 7.75 |  | 1.01 |  |  |  | 14.3 |  | 0.29
2021-10-01 09:27 |  |  | 0.031 |  | < 0.014 |  | < 0.010 | 0.014 | < 0.010 | 0.029 | 0.015 | < 0.030 | 0.013 | < 7.526 | 0.02 | 0 | < 0.0300 | 3.05 |  |  | 0.965 | 0.009 | < 0.013 |  | 14.3 | 0.23 | 0.111
2021-10-08 08:50 |  |  | 0.031 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | 0.023 | 0.016 | < 0.030 | 0.031 | 9.79 | 0.28 | 0.279 | 0.25 | 7.8 |  |  | 0.229 | 0.008 | < 0.013 |  | 13.1 | 2.29 | 0.109
2021-10-14 09:02 | [17 empty] | 9.12 | [6 empty] | 12.9 |  |  |  | 5.48
2021-10-14 09:02 |  |  | 0.077 |  | < 0.014 |  | < 0.010 | 0.026 | 0.058 | 0.024 | 0.019 | < 0.030 | 0.017 | 18.9 | 0.56 | 0.557 | 0.537 | 9.24 |  |  | 0.212 | 0.011 | < 0.013 |  | 12.9 | 4.43 | 0.232
2021-10-22 08:58 |  |  | 0.083 |  | < 0.014 |  | < 0.010 | 0.062 | 0.051 | < 0.006 | 0.02 | < 0.030 | 0.024 | 12.4 | 0.43 | 0.43 | 0.546 | 6.38 |  |  | 0.16 | 0.01 | < 0.013 |  | 11.4 | 2.97 | 0.25
2021-10-25 09:38 | 255 | 0.386 | [15 empty] | 6.51 | 8.02 |  | 0.16 |  |  |  | 11 |  | 0.342
2021-10-25 09:39 | [17 empty] | 6.58 | [6 empty] | 11 |  |  |  | 1.32
2021-10-25 09:40 |  |  | 0.078 |  | < 0.014 |  | < 0.010 | 0.042 | 0.038 | 0.007 | 0.022 | < 0.030 | 0.016 | 9.4 | 0.33 | 0.327 | 0.416 | 6.48 |  |  | 0.15 | 0.009 | < 0.013 |  | 11 | 2.25 | 0.212
2021-11-05 08:58
2021-11-05 08:58 |  |  | 0.04 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.039 | 0.028 | 0.077 | < 0.030 | < 0.008 | 8.05 | 0.25 | 0.255 | 0.281 | 8.05 |  |  | 0.209 | 0.014 | < 0.013 |  | 6.4 | 1.9 | 0.198
2021-11-10 10:53 | [17 empty] | 8.56 | [6 empty] | 9.2 |  |  |  | 4.09
2021-11-10 10:53 |  |  | 0.051 |  | 0.03 |  | < 0.010 | 0.018 | 0.131 | 0.015 | 0.036 | < 0.030 | < 0.008 | 16.6 | 0.44 | 0.441 | 0.327 | 8.26 |  |  | 0.172 | 0.025 | < 0.013 |  | 9.2 | 3.85 | 0.306
2021-11-15 10:52 |  |  | 0.057 |  | < 0.014 |  | < 0.010 | 0.027 | 0.162 | 0.011 | 0.026 | < 0.030 | < 0.008 | 12.4 | 0.36 | 0.359 | 0.333 | 8.04 |  |  | 0.151 | 0.025 | < 0.013 |  | 10.7 | 2.91 | 0.308
2021-11-15 08:55
2021-11-25 09:30 | 285 | 0.287 | [15 empty] | 9.46 | 8.1 |  | 0.133 |  |  |  | 5.1 |  | 0.201
2021-11-25 09:30 | [17 empty] | 9.18 | [6 empty] | 5.1 |  |  |  | 3.45
2021-11-25 09:29 |  |  | 0.049 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.065 | 0.009 | 0.025 | < 0.030 | < 0.008 | 9.05 | 0.24 | 0.243 | 0.186 | 9.07 |  |  | 0.192 | 0.036 | < 0.013 |  | 5.1 | 2.1 | 0.184
2021-12-02 08:46
2021-12-03 09:06 |  |  | 0.041 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.054 | 0.038 | 0.029 | < 0.030 | < 0.008 | 11.9 | 0.28 | 0.283 | 0.134 | 10.2 |  |  | 0.168 | 0.05 | < 0.013 |  | 3.3 | 2.72 | 0.212
2021-12-10 09:24 | [17 empty] | 10.1 | [6 empty] | 4.2 |  |  |  | 17.4
2021-12-10 09:24 |  |  | 0.065 |  | 0.046 |  | < 0.010 | < 0.018 | 0.592 | 0.117 | 0.035 | < 0.030 | < 0.008 | 57.2 | 1.2 | 1.204 | 0.18 | 10.1 |  |  | 0.184 | 0.255 | < 0.013 |  | 4.2 | 13 | 1.11
2021-12-17 09:11 |  |  | 0.07 |  | < 0.014 |  | < 0.010 | 0.024 | 0.173 | 0.016 | 0.021 | < 0.030 | < 0.008 | 46.4 | 1.01 | 1.014 | 0.257 | 8.41 |  |  | < 0.140 | 0.134 | < 0.013 |  | 5.9 | 10.6 | 0.438
2021-12-23 10:10 | [17 empty] | 8.9 | [6 empty] | 4 |  |  |  | 7.47
2021-12-23 10:09 | 274 | 0.181 | [15 empty] | 8.8 | 8 |  | 0.143 |  |  |  | 4 |  | 0.141
2021-12-23 10:11 |  |  | 0.052 |  | < 0.014 |  | < 0.010 | 0.021 | 0.139 | 0.01 | 0.015 | < 0.030 | < 0.008 | 32.6 | 0.72 | 0.724 | 0.216 | 8.92 |  |  | < 0.140 | 0.158 | < 0.013 |  | 4 | 7.43 | 0.395
2021-12-28 09:34 |  |  | 0.053 |  | < 0.014 |  | < 0.010 | 0.018 | 0.6 | 0.007 | 0.035 | < 0.008 | < 0.008 | 76.9 | 1.57 | 1.572 | 0.102 | 8.85 |  |  | 0.159 | 0.736 | < 0.013 |  | 7.4 | 17.4 | 1.449
2021-12-28 09:35 | [26 empty] | 0
2022-01-07 09:03 | [17 empty] | 10.7 | [6 empty] | 1.5 |  |  |  | 7.36
2022-01-07 09:03 |  |  | 0.05 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.052 | 0.009 | 0.011 | < 0.030 | < 0.008 | 53.6 | 1.13 | 1.133 | 0.184 | 10.8 |  |  | < 0.140 | 0.052 | < 0.013 |  | 1.5 | 12.2 | 0.174
2022-01-14 09:15 |  |  | 0.059 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.066 | 0.006 | 0.009 | < 0.030 | < 0.008 | 49.1 | 1.03 | 1.029 | 0.142 | 10.5 |  |  | < 0.140 | 0.049 | < 0.013 |  | 2.7 | 11.1 | 0.189
2022-01-20 09:19 | [17 empty] | 11.5 | [6 empty] | 1.8 |  |  |  | 7.23
2022-01-20 09:19 | 288 | 0.187 | [15 empty] | 11.2 | 8.06 |  | < 0.140 |  |  |  | 1.8 |  | 0.088
2022-01-20 09:19 |  |  | 0.056 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.024 | 0.007 | 0.009 | < 0.030 | < 0.008 | 38.6 | 0.82 | 0.816 | 0.133 | 11.5 |  |  | < 0.140 | 0.027 | < 0.013 |  | 1.8 | 8.76 | 0.123
2022-01-25 11:11 | [24 empty] | 3.2
2022-01-26 09:54
2022-01-30 11:40 |  |  | 0.064 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.022 | 0.011 | 0.009 | < 0.030 | < 0.008 | 31.6 | 0.69 | 0.694 | 0.187 | 11.2 |  |  | < 0.140 | 0.035 | < 0.013 |  | 5.1 | 7.19 | 0.141
2022-02-01 12:11 | [17 empty] | 11.3 | [6 empty] | 5 |  |  |  | 7.98
2022-02-01 12:10 |  |  | 0.054 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.013 | 0.011 | < 0.008 | < 0.030 | < 0.008 | 27.1 | 0.61 | 0.605 | 0.189 | 11.8 |  |  | < 0.140 | 0.027 | < 0.013 |  | 5 | 6.18 | 0.105
2022-02-08 11:08 |  |  | 0.05 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.022 | 0.017 | 0.011 | < 0.030 | < 0.008 | 22 | 0.49 | 0.49 | 0.149 | 11.6 |  |  | < 0.140 | 0.029 | < 0.013 |  | 6 | 5 | 0.129
2022-02-15 12:46 | 248 | < 0.1400 | [15 empty] | 11.2 | 8.34 | [5 empty] | 5.9 |  | 0.176
2022-02-15 12:47 | [17 empty] | 10.8 | [6 empty] | 5.9 |  |  |  | 5.79
2022-02-15 12:48 |  |  | 0.053 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.024 | 0.007 | < 0.008 | < 0.030 | < 0.008 | 18.4 | 0.4 | 0.403 | 0.106 | 11.1 |  |  | < 0.140 | 0.031 | < 0.013 |  | 5.9 | 4.18 | 0.115
2022-02-22 09:04 | [24 empty] | 6.1
2022-02-23 11:31 |  |  | 0.041 |  | < 0.014 |  | < 0.010 | 0.019 | 0.087 | 0.006 | 0.009 | < 0.030 | < 0.008 | 63.1 | 1.29 | 1.288 | 0.078 | 10.6 |  |  | < 0.140 | 0.068 | < 0.013 |  | 6.7 | 14.3 | 0.23
2022-03-05 11:09 | [17 empty] | 11 | [6 empty] | 7.4 |  |  |  | 10.9
2022-03-05 11:09 |  |  | 0.059 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.064 | 0.007 | < 0.008 | < 0.030 | < 0.008 | 41.6 | 0.86 | 0.858 | 0.078 | 11.3 |  |  | < 0.140 | 0.036 | < 0.013 |  | 7.4 | 9.43 | 0.166
2022-03-13 12:12 | 255 | < 0.1400 | [15 empty] | 12.1 | 8.36 |  | < 0.140 |  |  |  | 9.4 |  | 0.143
2022-03-13 12:13 | [17 empty] | 12.1 | [6 empty] | 9.4 |  |  |  | 5.01
2022-03-13 12:13 |  |  | 0.063 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.02 | 0.007 | < 0.008 | < 0.030 | < 0.008 | 40.4 | 0.84 | 0.837 | 0.087 | 12.3 |  |  | < 0.140 | 0.017 | < 0.013 |  | 9.4 | 9.15 | 0.107
2022-03-22 11:06 | [24 empty] | 8.9
2022-03-28 09:47 |  |  | 0.049 |  | < 0.014 |  | < 0.010 | < 0.018 |  | 0.007 | < 0.008 | < 0.030 | < 0.008 | 36.4 | 0.76 | 0.76 | 0.095 | 13.1 |  |  | < 0.140 | 0.018 | < 0.013 |  | 10 | 8.25 | 0.074
2022-04-08 08:13 | 231 | < 0.1400 | [15 empty] | 10.2 | 8.29 |  | < 0.140 |  |  |  | 8.9 |  | 0.491
2022-04-08 08:13 | [17 empty] | 10.2 | [6 empty] | 8.9 |  |  |  | 2.56
2022-04-08 08:13 |  |  | 0.044 |  | < 0.014 |  | < 0.010 | 0.019 | 0.017 | 0.009 | < 0.008 | < 0.030 | 0.063 | 24.8 | 0.52 | 0.524 | 0.084 | 10 |  |  | < 0.140 | 0.013 | < 0.013 |  | 8.9 | 5.62 | 0.165
2022-04-19 09:19 | [24 empty] | 14.9
2022-04-22 08:48 |  |  | 0.041 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.019 | 0.009 | 0.008 | < 0.030 | 0.013 | 8.98 | 0.22 | 0.22 | 0.122 | 13.1 |  |  | 0.22 | 0.017 | < 0.013 |  | 13.6 | 2.06 | 0.107
2022-05-06 08:30 | 209 | < 0.1400 | [15 empty] | 13.1 | 8.27 |  | 0.764 |  |  |  | 14.5 |  | 0.127
2022-05-06 08:30 | [17 empty] | 13.3 | [6 empty] | 14.5 |  |  |  | 4.56
2022-05-06 08:30 |  |  | 0.03 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | < 0.008 | < 7.526 | 0.11 | 0.03 | 0.09 | 13.3 |  |  | < 0.140 | 0.01 | < 0.013 |  | 14.5 | 0.902 | 0.04
2022-05-17 07:44 | [24 empty] | 17.4
2022-05-17 07:44 | [24 empty] | 17.4
2022-06-10 08:25
2022-06-14 09:58 | [24 empty] | 18.1
2022-06-21 08:30
2022-06-28 08:48
2022-06-30 08:30 | [17 empty] | 13.3 | [6 empty] | 18.6 |  |  |  | 1.92
2022-06-30 08:30 | 181 | < 0.1400 | [15 empty] | 13.4 | 8.69 |  | < 0.140 |  |  |  | 18.6 |  | 0.431
2022-06-30 08:30 |  |  | 0.302 |  | < 0.014 |  | < 0.010 | 0.104 | < 0.010 | 0.075 | 0.008 | < 0.030 | 0.055 | < 7.526 | 0.03 | 0 | < 0.0300 | 13.6 |  |  | < 0.140 | 0.014 | < 0.013 |  | 18.6 | 0.27 | 0.558
2022-07-12 09:08 | [24 empty] | 22.7
2022-07-28 13:14 | 245 | < 0.1400 | [15 empty] | 13 | 8.65 |  | 1.33 |  |  |  | 20.6 |  | 0.432
2022-07-28 13:15 | [17 empty] | 13 | [6 empty] | 20.6 |  |  |  | 5.81
2022-07-28 13:15 |  |  | 0.105 |  | < 0.014 |  | < 0.010 | 0.068 | < 0.010 | 0.021 | < 0.008 | < 0.030 | 0.024 |  |  |  |  | 13.2 |  |  | 1.4 | 0.008 | < 0.013 |  | 20.6 |  | 0.226
2022-08-13 08:49
2022-08-23 12:44 | [24 empty] | 21.6
2022-08-23 12:44
2022-08-24 09:02 | 282 | 0.245 | [15 empty] | 9.04 | 8.07 |  | 1.92 |  |  |  | 21.2 |  | 0.355
2022-08-24 09:02 | [17 empty] | 9 | [6 empty] | 21.2 |  |  |  | 3.58
2022-08-24 09:02 |  |  | 0.059 |  | < 0.014 |  | < 0.010 | 0.037 | < 0.010 | 0.01 | < 0.008 | < 0.030 | 0.012 | < 7.526 | 0.02 | 0 | < 0.0300 | 8.84 |  |  | 2.04 | 0.004 | < 0.013 |  | 21.2 | 0.248 | 0.122
2022-09-01 08:26 | [17 empty] | 12.8 | [6 empty] | 17.5 |  |  |  | 14.2
2022-09-01 08:26 |  |  | 0.049 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | 0.067 | < 0.008 | 0.146 | 0.017 | < 7.526 | 0.09 | 0.068 | 0.205 | 12.7 |  |  | 1.8 | 0.009 | < 0.013 |  | 17.5 | 0.26 | 0.288
2022-09-01 08:26
2022-09-07 10:29 | [17 empty] | 6.94 | [6 empty] | 19.1 |  |  |  | 4.33
2022-09-07 10:29 |  |  | 0.032 |  | < 0.014 |  | < 0.010 | 0.041 | < 0.010 | 0.045 | < 0.008 | 0.073 | 0.01 | < 7.526 | 0.03 | 0.018 | 0.054 | 6.7 |  |  | 0.84 | 0.007 | < 0.013 |  | 19.1 | 0.175 | 0.208
2022-09-16 09:35 | [17 empty] | 9.08 | [6 empty] | 16.3 |  |  |  | 4.98
2022-09-16 09:35 |  |  | 0.037 |  | < 0.014 |  | < 0.010 | 0.107 | < 0.010 | 0.033 | < 0.008 | 0.056 | 0.009 | < 7.526 | 0.03 | 0 | < 0.0300 | 9.27 |  |  | 1.09 | 0.006 | < 0.013 |  | 16.3 | 0.32 | 0.248
2022-09-20 08:50 | [24 empty] | 13
2022-09-25 10:20 | [17 empty] | 9.26 | [6 empty] | 13.9 |  |  |  | 3.99
2022-09-25 10:20 |  |  | 0.03 |  | < 0.014 |  | < 0.010 | 0.084 | < 0.010 | 0.024 | 0.01 | 0.03 | 0.008 | < 7.526 | 0.02 | 0 | < 0.0300 | 9.21 |  |  | 0.914 | 0.006 | < 0.013 |  | 13.9 | 0.147 | 0.192
2022-09-29 07:43 | [17 empty] | 9.81 | [6 empty] | 12 |  |  |  | 2.87
2022-09-29 07:43 |  |  | 0.03 |  | < 0.014 |  | < 0.010 | 0.064 | < 0.010 | < 0.060 | 0.013 | < 0.030 | < 0.080 | < 7.526 | 0.04 | 0 | < 0.0300 | 9.92 |  |  | 1.34 | < 0.040 | < 0.013 |  | 12 | 0.504 | 0.107
2022-10-05 08:38 |  |  | 0.029 |  | < 0.014 |  | < 0.010 | 0.08 | < 0.010 | 0.022 | 0.011 | < 0.030 | 0.01 | < 7.526 | 0.06 | 0.043 | 0.13 | 7.51 |  |  | 1.55 | 0.005 | < 0.013 |  | 14.4 | 0.242 | 0.157
2022-10-10 09:40 | [17 empty] | 9.26 | [6 empty] | 12 |  |  |  | 3.44
2022-10-10 09:40 |  |  | 0.03 |  | < 0.014 |  | < 0.010 | 0.058 | < 0.010 | 0.021 | 0.011 | < 0.030 | 0.009 | < 7.526 | 0.15 | 0.122 | 0.365 | 9.19 |  |  | 1.41 | 0.005 | < 0.013 |  | 12 | 0.395 | 0.134
2022-10-18 08:54 | [24 empty] | 11.8
2022-10-21 10:26 | 267 | 0.34 | [15 empty] | 9.33 | 8.14 |  | < 140.000 |  |  | 15 | 11.7 |  | 0.343
2022-10-21 10:29 |  |  |  |  | < 0.014 |  | < 0.010 |  | < 0.010 |  | 0.012 | < 0.030 |  | < 7.526 | 0.19 | 0.151 | 0.452 | 9.48 |  |  | 1.27 |  | < 0.013 |  | 11.7 | 0.61 | 0.012
2022-10-21 10:28
2022-10-29 09:19 |  |  | 0.033 |  | < 0.014 |  | < 0.010 | 0.04 | 0.019 | 0.016 | 0.014 | < 0.030 | 0.036 |  |  |  |  | 10.46 |  |  | 0.846 | 0.007 | < 0.013 |  | 12.5 |  | 0.165 |  | 2.05
2022-11-02 08:30 |  |  | 0.028 |  | < 0.014 |  | < 0.010 | 0.026 | 0.021 | 0.014 | 0.015 | < 0.030 | 0.084 | 8.746 |  | 0.373 | 0.595 | 7.17 |  |  | 0.788 | 0.008 | < 0.013 |  | 11.6 |  | 0.196
2022-11-12 11:07 |  |  | 0.08 |  | < 0.014 |  | < 0.010 | 0.03 | 0.029 | 0.007 | 0.019 | < 0.030 | 0.009 |  |  |  |  | 11.47 |  |  | 0.22 | 0.036 | < 0.013 |  | 10.8 |  | 0.21
2022-11-15 09:07
2022-11-17 10:22 | 262 | 0.442 | [11 empty] | 17.43 |  |  | 0.612 | 9.9 | 8.1 |  | 0.265 |  |  |  | 9.2 |  |  |  | 6.45
2022-11-22 08:33 |  |  | 0.108 |  | < 0.014 |  | < 0.010 | < 0.072 | 0.062 | 0.007 | 0.01 | < 0.030 | 0.007 | 72.093 |  | 1.59 | 0.444 | 9.19 |  |  | < 0.140 | 0.083 | 0.016 |  | 7 |  | 0.293
2022-12-01 10:01 |  |  | 0.113 |  | < 0.014 |  | < 0.010 | 0.008 | 0.031 | < 0.006 | < 0.008 | < 0.030 | < 0.003 | 84.231 |  | 1.869 | 0.553 | 9.79 |  |  | 0.193 | 0.06 | < 0.013 |  | 6.8 |  | 0.212 |  | 9.77
2022-11-22 08:33
2022-12-09 08:22 |  |  | 0.124 |  | < 0.014 |  | < 0.010 | 0.012 | 0.026 | < 0.006 | < 0.008 | < 0.030 | < 0.003 | 80.784 |  | 1.702 | 0.258 | 10.97 |  |  | < 0.140 | 0.066 | < 0.013 |  | 1.3 |  | 0.228
2022-12-12 10:14 |  |  | 0.033 |  | < 0.014 |  | < 0.010 | 0.01 | 0.068 | < 0.006 | < 0.008 | < 0.030 | < 0.003 | 70.2 | 1.5 | 1.501 | 0.291 |  |  |  | < 0.140 | 0.024 | < 0.013 |  | 0.8 |  | 0.135 |  | 6.24
2022-12-24 09:25 | 176 | 0.183 | 0.088 |  | < 0.014 |  | < 0.010 | 0.006 | 0.135 | < 0.006 | < 0.008 | < 0.030 | < 0.003 | 62.388 |  | 1.286 | 0.113 | 9.91 | 7.84 |  | 0.15 |  | < 0.013 |  | 5.5 |  | 0.673 |  | 46.4
2022-12-31 08:49 |  |  | 0.084 |  | < 0.014 |  | < 0.010 | 0.006 |  | < 0.006 | < 0.008 | < 0.030 | < 0.003 | 73.455 |  | 1.546 | 0.232 | 10.16 |  |  | < 0.140 | 0.113 | < 0.013 |  | 6.2 |  | 0.203
2023-01-06 08:50 |  |  | 0.09 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.025 | < 0.006 | < 0.008 | < 0.030 | < 0.008 |  |  |  | 0.181 | 10.04 |  |  | < 0.140 | 0.114 |  |  | 7.6 |  | 0.229
2023-01-13 09:07 |  |  | 0.083 |  | < 0.014 |  | < 0.010 | 0.001 | 0.024 | < 0.006 | < 0.008 | < 0.030 | < 0.003 | 66.744 |  | 1.39 | 0.164 | 10.02 |  |  | < 0.140 | 0.155 | < 0.013 |  | 6.5 |  | 0.263
2023-01-21 12:04 |  |  | 0.086 |  | < 0.014 |  | < 0.010 | 0.013 | 0.013 | < 0.006 | 0.009 | < 0.030 | < 0.003 | 62.611 |  | 1.294 | 0.125 | 11.14 |  |  | < 0.140 | 0.037 | < 0.013 |  | 0.5 |  | 0.158
2023-01-21 12:03 | [28 empty] | 7.49
2023-01-27 10:19 | 246 | 0.458 | 0.094 |  | < 0.014 |  | < 0.010 | 0.016 | 0.027 | 0.006 | < 0.008 | < 0.030 | < 0.003 | 60.497 |  | 1.265 | 0.166 | 11.43 | 7.96 |  | < 0.140 | 0.039 | < 0.013 |  | 3.5 |  | 1.009 |  | 13.35
2023-02-03 09:46 |  |  | 0.135 |  | < 0.014 |  | < 0.010 | 0.001 | 0.01 | 0.008 | < 0.008 | < 0.030 | 0.032 | 45.827 |  | 0.962 | 0.135 | 11.51 |  |  | < 0.140 | 0.022 | < 0.013 |  | 5.4 |  | 0.208 |  | 6.94
2023-01-29 10:48
2023-01-30 09:26
2023-02-09 09:29 |  |  | 0.162 |  | < 0.014 |  | < 0.010 | 0.011 | < 0.010 | 0.01 | < 0.008 |  | 0.052 | 38.95 |  | 0.822 | 0.128 | 12.29 |  |  | < 0.140 | 0.021 | < 0.013 |  | 3.6 |  | 0.256
2023-05-02 09:18
2023-02-17 10:10 |  |  | 0.156 |  | < 0.014 |  | < 0.010 | 0.009 | < 0.010 | 0.009 | < 0.008 | < 0.030 | 0.032 | 31.142 |  | 0.657 | 0.102 | 12 |  |  | < 0.140 | 0.024 | < 0.013 |  | 7.6 |  | 0.23 |  | 11.08
2023-03-03 09:46 | 243 | < 0.1400 | 0.11 |  | < 0.014 |  | < 0.010 | 0.005 |  | 0.007 | < 0.008 |  | 0.032 | 20.319 |  |  | 0.062 | 12.27 | 8.29 |  | < 0.140 | 0.022 |  |  | 5.9
2023-02-23 09:15 |  |  | 0.022 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.011 | < 0.006 | < 0.008 | < 0.030 | < 0.008 |  |  |  | 0.111 | 12.58 |  |  | < 0.140 | 0.016 | < 0.013 |  | 8 |  | 0.049
2023-03-07 10:43 | [28 empty] | 6.77
2023-03-07 10:43
2023-03-07 10:43 |  |  | 0.133 |  | < 0.014 |  | < 0.010 | 0.013 | 0.01 | 0.008 | < 0.008 | < 0.030 | 0.011 | 20.103 |  | 0.429 | 0.081 | 12.58 |  |  | < 0.140 | 0.039 | < 0.013 |  | 5.1 |  | 0.214
2023-03-24 08:37 |  |  |  |  | < 0.014 |  | < 0.010 |  |  |  | < 0.008 |  |  | 45.718 |  |  | 0.117 | 11.25 |  |  | < 0.140 |  |  |  | 9.7
2023-03-30 09:08 |  |  | 0.126 |  | < 0.014 |  | < 0.010 | 0.02 |  | 0.029 | < 0.008 |  | 0.031 | 37.086 |  |  | 0.114 | 10.84 |  |  | < 0.140 | 0.018 |  |  | 9.3
2023-03-28 09:12
2023-04-05 07:29 |  |  | 0.101 |  | < 0.014 |  | < 0.010 | 0.042 | 0.015 | 0.116 | < 0.008 | < 0.030 | 0.035 | 39.405 |  | 0.83 | 0.125 |  |  |  | < 0.140 | 0.021 | < 0.013 |  | 9.8 | 8.936 | 0.33
2023-04-11 09:15
2023-04-24 10:32 | 237 | < 0.1400 | 0.113 |  | < 0.014 |  | < 0.010 | 0.021 | < 0.010 | 0.025 | < 0.008 | < 0.030 | 0.026 | 29.017 |  |  | 0.18 | 11.13 | 8.14 |  | < 0.140 | 0.015 | < 0.013 |  | 11.3 | 6.607 |  |  | 2.63
2023-05-18 10:13 | 256 | 0.164 | 0.197 |  | < 0.014 |  | < 0.010 | 0.019 | 0.011 | 0.259 | < 0.008 | < 0.030 | 0.24 | 11.633 |  | 0.292 | 0.178 | 12.87 | 8.3 |  | < 0.140 | 0.017 | < 0.013 |  | 15.4 | 2.681 | 1.127 |  | 4.99
2023-05-30 08:33
2023-05-23 08:36
2023-06-06 09:29
2023-06-21 09:24 | 138 | < 0.1400 | [16 empty] | 7.91 |  | < 0.140 | [5 empty] | 0.338
2023-06-20 08:45
2023-06-28 10:09 |  |  | 0.052 |  | < 0.014 |  | < 0.010 | 0.014 | < 0.010 | 0.006 | < 0.008 | < 0.030 | 0.01 | < 7.526 |  | 0 | < 0.0300 | 10.44 |  |  | < 0.140 | 0.01 | < 0.013 |  | 20.5 | 0.41 | 0.092 |  | 1.45
2023-07-28 08:55 |  |  | 0.05 |  | < 0.014 |  | < 0.010 | 0.07 | < 0.010 | 0.02 | < 0.008 | < 0.030 | 0.01 | < 7.526 |  | 0 | < 0.0300 | 9.88 |  |  | 0.707 | 0.007 | < 0.013 |  | 18.9 | 0.172 | 0.157 | < 20.00 | 0.81
2023-07-25 09:00
2023-08-01 10:37 | 231 | [17 empty] | 8.13 |  | 0.541 | [5 empty] | 0.343
2023-08-07 10:41 | 218 | < 0.1400 | [16 empty] | 8.25 |  | 0.527 | [5 empty] | 0.278
2023-08-17 09:48 |  |  | 0.079 |  | < 0.014 |  | < 0.010 | 0.018 | < 0.010 | 0.014 | < 0.008 | < 0.030 | 0.025 |  |  |  |  | 6.93 |  |  | 0.659 | 0.01 | < 0.013 |  | 19.1 |  | 0.146 | < 20.00 | 2.3
2023-08-15 09:50
2023-09-06 15:11 | 264 | < 0.1400 | [6 empty] | < 0.010 |  |  | < 0.030 |  | < 7.526 |  |  | < 0.0300 |  | 8.62 |  | 0.954 |  | < 0.013 |  | 20.8 | 0.242 |  | < 20.00 | 7.43
2023-09-05 09:52
2023-09-16 08:04 |  |  | 0.03 |  | < 0.014 |  | < 0.010 | 0.017 | < 0.010 | 0.006 | < 0.008 | < 0.030 | 0.006 | < 7.526 |  | 0 | < 0.0300 | 5.48 |  |  | 1.05 | 0.004 | < 0.013 |  | 18 | 0.264 | 0.063 | < 20.00
2023-09-23 09:37 | [8 empty] | < 0.010 |  |  | < 0.030 |  | < 7.526 |  |  | 0.126 |  |  |  | 0.732 |  | < 0.013 |  | 15.3 | 0.467 |  | < 20.00 | 2.79
2023-09-26 10:24
2023-09-23 09:36 | [24 empty] | 15.3
2023-09-26 10:25 |  |  | 0.046 |  | < 0.014 |  | < 0.010 | 0.035 | < 0.010 | 0.034 | < 0.008 | < 0.030 | 0.139 | 9.264 |  | 0.353 | 0.503 | 7.38 |  |  | 0.551 | 0.055 | < 0.013 |  | 15.5 | 2.245 | 0.309 | < 20.00
2023-09-26 10:22
2023-10-06 11:24 |  |  | 0.05 |  | < 0.014 |  | < 0.010 | < 0.036 |  | 0.006 | < 0.008 |  | 0.015 | [8 empty] | 0.008 |  |  |  |  | 0.198
2023-10-06 11:25 | 249 | 0.163 | 0.049 |  | < 0.014 |  | < 0.010 | 0.018 | < 0.010 | 0.007 | < 0.008 | < 0.030 | 0.015 | < 7.526 |  |  | 0.453 | 8.61 | 8.12 |  | 0.336 | 0.008 | < 0.013 |  | 14.8 | 1.157 |  | < 0.02
2023-10-10 08:56 |  |  | 0.048 |  | < 0.014 |  | < 0.010 | 0.019 | < 0.010 | 0.016 | 0.009 | < 0.030 | 0.01 | < 7.526 |  | 0.119 | 0.358 | 8.74 |  |  | 0.342 | 0.009 | < 0.013 |  | 15.6 | 1.302 | 0.111 | 80 | 1.16
2023-10-17 10:03
2023-10-18 10:36 |  |  | 0.051 |  | < 0.014 |  | < 0.010 | 0.024 | 0.418 | 0.011 | 0.047 | < 0.030 | 0.013 | 54.213 |  | 1.233 | 0.445 | 6.94 |  |  | 0.259 | 0.008 | < 0.013 |  | 9.8 | 12.377 | 0.572 | 100 | 6.49
2023-10-24 10:09 | [13 empty] | 60.383 |  |  | 0.28 | 5.81 |  |  | 0.148 |  |  |  | 11.4 | 13.72 |  | 220
2023-10-31 08:49 |  |  | 0.05 |  | < 0.014 |  | < 0.010 | 0.01 | 0.423 | 0.007 | 0.009 | < 0.030 | 0.004 | 51.496 |  | 1.087 | 0.171 | 7.39 |  |  | < 0.140 | 0.011 | < 0.013 |  | 10.2 | 11.68 | 0.514 | 610
2023-11-07 12:28 |  |  | 0.047 |  | < 0.014 |  | < 0.010 | 0.015 | 0.138 | < 0.006 | 0.01 | < 0.030 | 0.004 | 55.893 |  | 1.208 | 0.27 | 8.88 |  |  | < 0.140 | 0.015 | < 0.013 |  | 9 | 12.703 | 0.229 | 80 | 14.87
2023-11-07 12:47 |  |  | 0.046 |  | < 0.014 |  | < 0.010 | < 0.018 |  | < 0.006 | 0.009 |  | < 0.008 | [8 empty] | 0.015 |  |  | 9 |  | 0.07
2023-11-15 09:21 | 269 | 0.169 | 0.049 |  | < 0.014 |  | < 0.010 | 0.021 | 0.257 | 0.013 | 0.013 | < 0.030 | 0.003 | 46.126 |  |  | 0.258 | 9.42 | 8.02 |  | < 0.140 | 0.113 | < 0.013 |  | 8 | 10.494 |  | 100
2023-11-15 09:32
2023-11-21 11:53 |  |  | 0.045 |  | < 0.014 |  | < 0.010 | 0.016 | 0.095 | < 0.006 | 0.013 | < 0.030 | < 0.003 | 53.041 |  | 1.121 | 0.181 | 9.52 |  |  | < 0.140 | 0.122 | < 0.013 |  | 9.6 | 12.032 | 0.291 | 80 | 19.3
2023-11-28 10:17 | [8 empty] | 0.155 |  |  | < 0.030 | [10 empty] | 0.034 |  |  |  | 0.189
2023-11-29 10:36 |  |  | 0.051 |  | < 0.014 |  | < 0.010 | 0.005 | 0.243 | 0.009 | 0.015 | < 0.030 | 0.003 | 48.374 |  | 1 | 0.098 | 8.99 |  |  | < 0.140 |  | 0.021 |  | 5.8 | 10.953 | 0.347 | 90
2023-12-05 11:59 | 172 | < 0.1400 | 0.042 |  | < 0.014 |  | < 0.010 | 0.022 | 0.431 | < 0.006 | 0.017 | < 0.030 | 0.009 | 36.497 |  | 0.759 | 0.088 | 9.63 | 7.59 |  | 0.174 | 1.223 | 0.023 |  | 5.9 | 8.268 | 1.827 | 510 | 138
2023-12-12 10:22 |  |  |  |  | < 0.014 |  | < 0.010 |  | 0.187 |  | 0.01 | < 0.030 |  | 44.553 |  |  | 0.091 | 8.96 |  |  | < 0.140 |  | < 0.013 |  | 7.3 | 10.088 |  | 180 | 54.7
2023-12-06 11:23 | [24 empty] | 5.6 |  | 0.011
2023-12-19 10:15 |  |  | 0.061 |  | < 0.014 |  | < 0.010 | 0.018 | 0.034 | 0.011 | 0.013 | < 0.030 | < 0.003 | 46.925 |  | 1.019 | 0.24 | 9.43 |  |  | < 0.140 | 0.055 | < 0.013 |  | 8.2 | 10.669 | 0.192 | 70
2023-12-29 09:00 |  |  | 0.058 |  | < 0.014 |  | < 0.010 | 0.008 | 0.067 | < 0.006 | < 0.008 | < 0.030 | 0.003 | 38.251 |  | 0.802 | 0.111 | 10.38 |  |  | < 0.140 | 0.197 | < 0.013 |  | 6.4 | 8.671 | 0.333 | 120 | 32.9
2024-01-19 10:27 |  |  | 0.078 |  | < 0.014 |  | < 0.010 | 0.011 | 0.015 | 0.017 | < 0.008 | < 0.030 | < 0.003 | 44.33 |  | 0.945 | 0.174 | 10.87 |  |  | < 0.140 | 0.093 | < 0.013 |  | < 0.0 |  | 0.214
2024-01-03 09:00 | 112 | < 0.1400 | 0.029 |  | < 0.014 |  | < 0.010 | 0.002 | 0.146 | < 0.006 | < 0.008 | < 0.030 | 0.004 | 17.479 | 0.36 | 0.35 | < 0.0300 | 9.41 | 7.66 |  | 0.288 | 0.274 | < 0.013 |  | 7.5 | 3.956 | 1.004
2024-01-02 10:17 | [28 empty] | 296
2024-01-26 10:32 |  |  | 0.103 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.022 | 0.018 | < 0.008 | < 0.030 | < 0.008 | 32.237 |  | 0.713 | 0.206 |  |  | 0.066 | < 0.140 | 0.166 | < 0.013 |  |  | 7.342 | 0.309 | 40 | 19.11
2024-01-31 09:55 | 295 | 0.172 | 0.127 | 1.65 | < 0.014 | 18.6 | < 0.010 | < 0.018 | 0.01 | 0.016 | < 0.008 | < 0.030 | < 0.008 | 31.809 |  | 0.69 | 0.162 |  | 8.08 | 0.064 | < 0.140 | 0.125 | < 0.013 | 18 | 5.4 | 7.232 | 0.42
2024-02-06 09:56 |  |  | 0.124 |  | < 0.014 |  | < 0.010 | < 0.018 | < 0.010 | 0.02 | < 0.008 | < 0.030 | < 0.008 | 30.125 |  | 0.666 | 0.189 |  |  | 0.055 | < 0.140 | 0.081 | < 0.013 |  |  | 6.86 | 0.225 | < 20.00
2024-02-14 12:13 |  |  | 0.064 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.05 | 0.006 | < 0.008 | < 0.030 | < 0.008 | 42.783 |  | 0.878 | 0.067 |  |  | < 0.0550 | < 0.140 | 1.329 | < 0.013 |  |  | 9.681 | 1.449 | 150
2024-02-21 12:00 |  |  | 0.068 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.027 | 0.009 | < 0.008 | < 0.030 | < 0.008 | 42.098 |  | 0.884 | 0.125 |  |  | < 0.0550 | < 0.140 | 0.286 | < 0.013 |  |  | 9.544 | 0.39 | 70 | 29.2
2024-02-27 11:38 |  |  | 0.07 |  | < 0.014 |  | < 0.010 | < 0.018 | 0.019 | 0.013 | < 0.008 | < 0.030 | < 0.008 | 43.348 |  | 0.922 | 0.164 |  |  | < 0.0550 | < 0.140 | 0.112 | < 0.013 |  |  | 9.838 | 0.214 | 60 | 15.16
2024-03-09 07:31 | 299 | 0.195 |  | 1.55 | < 0.014 | 22.7 | < 0.010 |  | < 0.010 |  | < 0.008 | < 0.030 |  | 35.582 |  |  | 0.126 | 11.23 | 8.14 | < 0.0550 | < 0.140 |  | < 0.013 | 22 | 6.8 | 8.073 |  | 30
2024-03-21 08:24
2024-03-26 14:17
2024-03-28 07:56 |  |  | 0.08 |  | < 0.014 |  | < 0.010 | 0.023 |  | 0.011 | < 0.008 | < 0.030 | 0.018 | 27.528 |  |  | 0.099 |  |  | 0.069 | < 0.140 | 0.028 | < 0.013 |  |  | 6.246 |  | < 20.00 | 12.2
2024-04-03 12:46 |  |  | 0.055 |  | < 0.014 |  | < 0.010 | 0.057 | < 0.010 | 0.007 | < 0.008 | < 0.030 | < 0.008 | 27.68 |  | 0.593 | 0.117 |  |  | < 0.0550 | < 0.140 | 0.027 | < 0.013 |  |  | 6.286 | 0.146 | 20
2024-04-20 13:46 | 247 | < 0.1400 | 0.08 | 2.81 | < 0.014 | 22.6 | < 0.010 | < 0.018 | < 0.010 | 0.008 | < 0.008 | < 0.030 | 0.013 | 22.167 |  | 0.475 | 0.094 | 12.32 | 8.35 | < 0.0550 | < 0.140 | 0.017 | < 0.013 | 5 | 10.8 | 5.034 | 0.269 | 50 | 2.91
2024-04-23 08:53
2024-04-23 08:55 | [26 empty] | 0.081
2024-05-06 12:11 | 240 | < 0.1400 | 0.061 | 1.69 | < 0.014 | 19.7 | < 0.010 |  | 0.018 | 0.009 | < 0.008 | < 0.030 | 0.013 | 20.311 |  |  | 0.117 |  | 8.27 | < 0.0550 | < 0.140 | 0.015 | < 0.013 | 7 | 16.3 | 4.622 |  | 30 | 4.74
2024-05-21 14:17
2024-06-07 07:53 | [7 empty] | 0.078 | [18 empty] | 0.078
2024-06-22 08:38 |  | < 0.1400 | 0.074 | 2.2 | < 0.014 | 26 | < 0.010 | 0.076 | < 0.010 | 0.015 | < 0.008 | < 0.030 | 0.367 | < 7.526 |  | 0.031 | 0.093 | 11.32 | 8.3 | < 0.0550 | < 0.140 | 0.011 | < 0.013 | 10 | 19.6 | 1.398 | 0.765 | < 20.00 | 3.29
2024-06-25 09:55
2024-07-09 13:29
2024-07-04 06:25 | 154.07
2024-07-25 12:58 | 257 | < 0.1400 | 0.114 | 1.15 | < 0.014 | 27.8 | < 0.010 | 0.185 | < 0.010 | 0.008 | < 0.008 | < 0.030 | 0.062 | 9.432 |  | 0.263 | 0.224 | 10.6 | 8.41 | < 0.0550 | < 0.140 | 0.02 | < 0.013 | 6 | 21.1 | 2.198 | 0.71 | < 20.00 | 1.52
2024-07-23 09:52
2024-08-06 13:00
2024-08-19 09:23 | 242 | < 0.1400 | 0.078 | 1.09 | < 0.014 | 15.2 | < 0.010 | 0.077 | < 0.010 | < 0.006 | < 0.008 | < 0.030 | 0.017 | < 7.526 |  | 0 | < 0.0300 | 9.98 | 8.29 | 0.152 | 0.193 | 0.007 | < 0.013 | 5 | 19.2 | 0.407 | 0.389 | < 20.00 | 1.46
2024-08-20 07:24 | 242 |  | 0.074 |  |  |  |  | 0.078 | < 0.010 | < 0.006 |  |  | 0.017 |  |  |  |  | 9.28 |  |  |  | 0.008 |  |  |  |  | 0.177
2024-09-02 14:00
2024-09-10 09:45 | 246 | < 0.1400 |  | 1.06 | < 0.014 | 20.7 | < 0.010 |  |  |  | < 0.008 |  |  | < 7.526 |  | 0 | < 0.0300 | 6.88 | 7.92 | 0.308 | 0.408 |  |  | 5 | 16.7 | 0.244 | 0 |  | 1.54
2024-09-12 09:03 | [10 empty] | < 0.008 |  |  | < 7.526 |  | 0.012 | 0.035 |  |  | 0.353 | 0.472 |  |  |  |  | 0.114 | 0
2024-09-11 11:34 | [17 empty] | 6.83