## Sheet1
EDM STORM OVERFLOW REGULATORY RETURN - BATHING WATER SEASON
NB: EDM reporting relevant to the Bathing Season covers 01 May - 30 September
Unique ID | Water Company Name | Site Name (EA Consents Database) | Site Name (WaSC operational) [optional] | EA Permit Reference (EA Consents Database) | WaSC Supplementary Permit Ref. [optional] | Activity Reference on Permit | Storm Discharge Asset Type | Outlet Discharge NGR (EA Consents Database) | WFD Waterbody ID (Cycle 3) (discharge outlet) | WFD Waterbody Catchment Name (Cycle 3) (discharge outlet) | Receiving Water / Environment (common name) (EA Consents Database) | Bathing Water Name(s) | Bathing Water Type | Treatment Method on Permit (over & above Storm Tank settlement / screening) | Initial EDM Commission Date | Total Duration (hh:mm:ss) all spills prior to processing through 12-24h count method | Counted spills using 12-24h count method | EDM Operation - % of reporting period EDM operational | EDM Operation - Reporting % - Primary Reason <90% | EDM Operation - Action taken / planned - Status & timeframe | Previous Improvements - Most recent AMP period asset previously improved (under BW WINEP driver) | Target Standard affecting Spill Frequency (if SO previously improved) | Spill Frequency for Design Solution (significant spills) (if SO previously improved)
AWS01182 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-WOODGRANGE DRIVE CSO | S/WR88 | ASTTS3458/29 | A3 | Storm discharge at pumping station | TQ9018084610 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Jubilee; Southend Thorpe Bay | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 0:30 | 2 | 95.9969 |  |  | AMP7 (Apr 2020 to Mar 2025) - investigation | Marine Impact Modelling-derived | Not Applicable
AWS00234 | Anglian Water | CLACTON (HOLLAND HAVEN) WRC | CLACTON-HOLLAND HAVEN STW | AEECS12401 | AEECS/12401/V006 | A2 | Inlet SO at WwTW | TM2226016500 | GB650503520001 | Essex | NORTH SEA | Holland | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 55:54 | 20 | 99.9886 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01331 | Anglian Water | SUDBURY - GREAT EASTERN ROAD TPS | SUDBURY-GREAT EASTERN ROAD TPS | ASENF/3753/12422 | ASENF/3753/12422/V001 | A1 | Storm discharge at pumping station | TL8752040910 | GB105036040941 | Stour (Wixoe - Lamarsh) | RIVER STOUR | Friars Meadow, River Stour | River | Not Applicable | Commissioned in 2018 - full BW season data expected | 7:16 | 7 | 100 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00528 | Anglian Water | GRIMSBY PYEWIPE WRC AND TPS | GRIMSBY-PYEWIPE SO TPS | AW3TS519 | AW3TS/519/V003 | A6 | Storm discharge at pumping station | TA2632011080 | GB530402609201 | HUMBER LOWER | THE RIVER HUMBER | Cleethorpes | Coastal | Not Applicable | Commissioned in 2021 - full BW season data expected | 22:12 | 11 | 100 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 10
AWS01475 | Anglian Water | WEST RUNTON WATER LANE PUMPING ST. | RUNTON WEST WATER LN TPS | AEECS12198 | AEECS12198/V001 | A1 | Storm discharge at pumping station | TG1859043190 | GB650503520003 | Norfolk East | THE NORTH SEA | West Runton | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:30 | 2 | 99.998 |  |  | AMP7 (Apr 2020 to Mar 2025) - improvement | Spill Frequency Emission Standard | More than 20
AWS00516 | Anglian Water | GREAT YARMOUTH BRYANTS QUAY PS | GT YARMOUTH-BRYANTS QUAY SM | AEETS12175 | AEETS3290/12175/V002 | A1 | Storm discharge at pumping station | TG5246006870 | GB510503410700 | BURE & WAVENEY & YARE & LOTHING | TIDAL RIVER YARE | Great Yarmouth Pier | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 15:46 | 43 | 99.9812 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS00044 | Anglian Water | BAKER STREET PUMPING STATION | GORLESTON-BAKER ST SP | AEETS12177 | AEETS4137/19025 | A1 | Storm discharge at pumping station | TG5294004300 | GB510503410700 | BURE & WAVENEY & YARE & LOTHING | TIDAL RIVER YARE | Gorleston Beach | Coastal | Not Applicable | Commissioned in 2022 - full BW season data expected | 54:15 | 13 | 100 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS00454 | Anglian Water | FRINTON UPPER 2ND AV/THE CLOSE CSO | FRINTON-UPPER SECOND AVE OV | ASENF12381 | ASENF3684/12381/V001 | A1 | SO on sewer network | TM2303019860 | GB105037077810 | Holland Brook | KIRBY BROOK | Frinton | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 15:34 | 17 | 100 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS00239 | Anglian Water | CLACTON SEA FRONT / GUNFLEET CSO | CLACTON-GUNFLEET SEA OF | ASECS12230 | ASECS3324/12230/V001 | A1 | SO on sewer network | TM1943015510 | GB650503520001 | Essex | THE NORTH SEA | Clacton | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 100 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00609 | Anglian Water | HOLLAND ROAD/SECOND AVENUE | FRINTON-HOLLAND RD SSO | ASENF12192 | ASENF3310/12192/V001 | A1 | SO on sewer network | TM2321019340 | GB105037077810 | Holland Brook | KIRBY BROOK | Frinton | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 1:32 | 5 | 100 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01161 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND ON SEA, LEIGH BELTON GARDENS PS | S/WR73 | S/WR73/V001 | A1 | Storm discharge at pumping station | TQ8347085420 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Leigh Bell Wharf | Coastal | Not Applicable | Commissioned in 2019 - full BW season data expected | 1:15 | 1 | 99.9999 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00800 | Anglian Water | MALBLETHORPE GEORGE STREET CSO | MABLETHORPE-GEORGE ST SSO | ANNNF892 | ANNNF/892/V001 | A1 | SO on sewer network | TF5061085110 | GB105029061640 | Trusthorpe Pump Drain (upper end) | TOWN DRAIN (CULVERTED) | Mablethorpe Town | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:22 | 1 | 99.9411 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01434 | Anglian Water | WALTON-ON-THE-NAZE TERMINAL PS | WALTON ON THE NAZE-TPS | ASECS3376/12213 | ASECS3376/12213/V001 | A1 | Storm discharge at pumping station | TM2604022270 | GB650503520001 | Essex | THE NORTH SEA | Walton | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 11:46 | 5 | 100 |  |  | AMP8 (April 2025 to March 2030) - improvement | Marine Impact Modelling-derived | 2
AWS00240 | Anglian Water | CLACTON VICTORIA ROAD CSO | CLACTON-VICTORIA RD SO | AW2CS662 | AW2CS662/V001 | A1 | SO on sewer network | TM1853015060 | GB650503520001 | Essex | THE NORTH SEA | Clacton | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 3:58 | 6 | 99.5134 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00857 | Anglian Water | MUNDESLEY - THE PROM PS | MUNDESLEY-NEW PROMENADE TPS | AEECS3350/12196 | AEECS3350/12196/V001 | A1 | Storm discharge at pumping station | TG3166036560 | GB105034055900 | Mun | North Sea | Mundesley | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 100 |  |  | AMP8 (April 2025 to March 2030) - improvement | Marine Impact Modelling-derived | 2
AWS00629 | Anglian Water | HUNSTANTON SMUGGLERS LANE PS | HUNSTANTON-SMUGGLERS LANE SP | ASENF12024 | ASENF12024/V001 | A1 | Storm discharge at pumping station | TF6873042740 | GB640523160000 | River Hun | River Hun | Hunstanton (Old Hunstanton) | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 2:18 | 6 | 99.9697 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 10
AWS00235 | Anglian Water | CLACTON (HOLLAND HAVEN) WRC | CLACTON-HOLLAND HAVEN STW | AEECS12401 | AEECS/12401/V006 | A3 | Storm discharge at pumping station | TM2226016500 | GB650503520001 | Essex | NORTH SEA | Holland | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 3:24 | 3 | 100 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00786 | Anglian Water | LOWESTOFT BELVEDERE ROAD CSO | LOWESTOFT-BELVEDERE RD SO | ASETS16995 | ASETS4083/16995/V002 | A1 | SO on sewer network | TM5444092670 | GB105034045903 | Waveney (Ellingham Mill - Burgh St. Peter) | INNER HARBOUR TO NORTH SEA | Lowestoft (North of Claremont Pier) | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 3:18 | 27 | 99.9107 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | 10
AWS01165 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-BRITTANIA ROAD BF CSO | S/WR78 | ASTTS3458/6 | A1 | SO on sewer network | TQ8627085220 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Chalkwell; Southend Three Shells; Southend Westcliff Bay | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 1:00 | 1 | 99.9597 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS01174 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-CHURCH ROAD CSO | EPR/AB3352TF | EPR/AB3352TF/V001 | A1 | SO on sewer network | TQ8880084990 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Jubilee; Southend Three Shells | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 5:45 | 12 | 99.9092 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01176 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-SOUTHCHURCH ROAD CSO | EPR/AB3254TZ | EPR/AB3254TZ/V001 | A1 | SO on sewer network | TQ8880084990 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Jubilee; Southend Three Shells | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 3:00 | 4 | 88.5507 | Comms failure / issue | Resolved - September | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS00144 | Anglian Water | BRIGHTLINGSEA STATION ROAD CSO | BRIGHTLINGSEA-LOWER PARK RD OV | ASENF3270/12162 | ASENF3270/12162/V001 | A1 | SO on sewer network | TM0812016640 | GB520503713800 | Colne Essex | THE WEST DYKE | Brightlingsea | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 2:52 | 6 | 99.8789 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 10
AWS00640 | Anglian Water | INGOLDMELLS HAVEN PS (WCR) | Ingoldmells (STW) PS | ANCCS3740/13577 | ANCCS3740/13577/V003 | A2 | Storm discharge at pumping station | TF5971069000 | GB640402492000 | Lincolnshire | NORTH SEA | Ingoldmells South | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 100 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01333 | Anglian Water | SUDBURY THE CROFT CSO | SUDBURY-THE CROFT | ASENF1729 | ASENF1729/V002 | A1 | SO on sewer network | TL8699041630 | GB105036040941 | Stour (Wixoe - Lamarsh) | RIVER STOUR | Friars Meadow, River Stour | River | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:22 | 2 | 99.9798 |  |  | AMP8 (April 2025 to March 2030) - improvement | Marine Impact Modelling-derived | 2
AWS01332 | Anglian Water | SUDBURY BAILEY & COATES CSO | SUDBURY BAILEY&COATES CROSS ST | ASENF1728 | ASENF1728/V002 | A1 | SO on sewer network | TL8730040870 | GB105036040941 | Stour (Wixoe - Lamarsh) | R STOUR | Friars Meadow, River Stour | River | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:20 | 2 | 99.9521 |  |  | AMP8 (April 2025 to March 2030) - improvement | Marine Impact Modelling-derived | 2
AWS00241 | Anglian Water | CLACTON WEST ROAD TERMINAL PS | CLACTON-WEST RD TPS | ASECS3325/12231 | ASECS3325/12231/V001 | A1 | Storm discharge at pumping station | TM1672013370 | GB650503520001 | Essex | THE NORTH SEA | Clacton Beach Martello Tower | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 99.8825 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00537 | Anglian Water | GTYARMOUTH GORLESTON/BRUSH BEND CSO | GORLESTON BRUSH BEND OV | AEETS3292/12178 | AEETS/3292/12178/V002 | A1 | SO on sewer network | TG5301003720 | GB510503410700 | BURE & WAVENEY & YARE & LOTHING | RIVER YARE (TIDAL) | Gorleston Beach | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 99.9858 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS00147 | Anglian Water | BRIGHTLINGSEA WEST DYKE TERMINAL PS | BRIGHTLINGSEA-LWR PARK RD TPS | ASENF3284/12161 | ASENF3284/12161/V001 | A1 | Storm discharge at pumping station | TM0812016630 | GB520503713800 | Colne Essex | WEST DYKE (TO COLNE ESTUARY) | Brightlingsea | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 1:52 | 1 | 100 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS01164 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-LEIGH HL/CLIFF PD CSO | S/WR75 | S/WR75/V002 | A1 | SO on sewer network | TQ8414085540 | GB530603911401 | THAMES LOWER | LEIGH CREEK | Leigh Bell Wharf; Southend Chalkwell | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 2:00 | 4 | 95.3958 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01330 | Anglian Water | SUDBURY - CORNARD ROAD PS | SUDBURY-CORNARD RD SP | ASENF3456/12336 | ASENF3546/12336/V001 | A1 | Storm discharge at pumping station | TL8801040920 | GB105036040941 | Stour (Wixoe - Lamarsh) | TRIBUTARY OF RIVER STOUR | Friars Meadow, River Stour | River | Not Applicable | Commissioned in 2020 - full BW season data expected | 0:00:00 | 0 | 99.993 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01163 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-LEIGH HILL CSO | EPR/AB3756TL | EPR/AB3756TL/V001 | A1 | SO on sewer network | TQ8414085540 | GB530603911401 | THAMES LOWER | LEIGH CREEK | Leigh Bell Wharf; Southend Chalkwell | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 0:15 | 1 | 100 |  |  | AMP7 (Apr 2020 to Mar 2025) - investigation | Marine Impact Modelling-derived | Not Applicable
AWS00787 | Anglian Water | LOWESTOFT MARINA CSO | LOWESTOFT (MARINA) CSO | ASETS4083/16991 | ASETS4083/16991/V001 | A1 | SO on sewer network | TM5513093030 | GB510503410700 | BURE & WAVENEY & YARE & LOTHING | NORTH SEA VIA WAVENEY DOCK | Lowestoft (North of Claremont Pier) | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 4:40 | 10 | 97.8915 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00383 | Anglian Water | EAST RUNTON BEACH ROAD TERMINAL PS | RUNTON-BEACH RD TPS | AEECS12197 | AEECS12197/V002 | A1 | Storm discharge at pumping station | TG2009042800 | GB650503520003 | Norfolk East | THE NORTH SEA | East Runton; West Runton | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 2:48 | 4 | 99.9933 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01166 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND - WESTERN VALLEY SP | S/WR78 | ASTTS3458/20 | A2 | Storm discharge at pumping station | TQ8627085220 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Chalkwell; Southend Westcliff Bay; Southend Three Shells | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 0:30 | 1 | 100 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS01173 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-PIER HL/HIGH ST CSO | S/WR83 | S/WR83/V001 | A1 | SO on sewer network | TQ8848084950 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Jubilee; Southend Three Shells | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 3:15 | 6 | 99.9576 |  |  | AMP7 (Apr 2020 to Mar 2025) - investigation | Marine Impact Modelling-derived | Not Applicable
AWS01162 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-VICTORIA W'F TANK CSO | S/WR74 | S/WR74/V001 | A1 | SO on sewer network | TQ8414085540 | GB530603911401 | THAMES LOWER | LEIGH CREEK | Leigh Bell Wharf; Southend Chalkwell | Coastal | Not Applicable | Commissioned in 2019 - full BW season data expected | 1:15 | 2 | 99.6275 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS01202 | Anglian Water | SOUTHWOLD GARDNER ROAD PS | SOUTHWOLD-GARDENER RD SP | ASENF91767/10176 | ASENF91767/10176/V001 | A1 | Storm discharge at pumping station | TM5066075820 | GB650503520002 | Suffolk | Salt Creek | Southwold The Denes | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 1:30 | 6 | 100 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 10
AWS01358 | Anglian Water | THE DELL CHALET PARK | MUNDESLEY-DELL CHALET PK OV | AEENF791/10515 | AEENF791/10515/V001 | A1 | SO on sewer network | TG3157036490 | GB105034055900 | Mun | River Mun | Mundesley | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:32 | 3 | 99.9878 |  |  | AMP8 (April 2025 to March 2030) - improvement | Marine Impact Modelling-derived | 2
AWS00145 | Anglian Water | BRIGHTLINGSEA STATION ROAD CSO | BRIGHLINGSEA-STATION RD #58 OV | ASENF3270/12166 | ASENF3270/12166/V001 | A1 | SO on sewer network | TM0812016640 | GB520503713800 | Colne Essex | A DRAIN, A TRIBUTARY OF COLNE ESTUARY | Brightlingsea | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 3:20 | 8 | 99.9979 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 10
AWS01175 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-QUEENSWAY CSO | S/WR84 | S/WR84/V002 | A1 | SO on sewer network | TQ8880084990 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Jubilee; Southend Three Shells | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 0:00:00 | 0 | 85.1458 | Comms failure / issue | Resolved - August | AMP7 (Apr 2020 to Mar 2025) - investigation | Marine Impact Modelling-derived | Not Applicable
AWS00808 | Anglian Water | MANNINGTREE(LAWFORD) STW | MANNINGTREE STW | ASETS12026 | ASETS12026B | A2 | Storm tank at WwTW | TM0993032410 | GB520503613602 | STOUR (ESSEX) | Wignall Brook Stour Estuary | Manningtree Beach, Stour Estuary | Coastal | Not Applicable | Commissioned in 2022 - full BW season data expected | 5:16 | 2 | 99.8038 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00082 | Anglian Water | BERNERS ROAD PUMPING STATION | HUMBERSTON-BERNERS RD SP | ANNNF3501/13449 | ANNNF3501/13449/V001 | A1 | Storm discharge at pumping station | TA3154006430 | GB104029062110 | Buck Beck from Source to N Sea | LITTLE BUCK BECK | Cleethorpes; Humberston Fitties | Coastal | Not Applicable | Commissioned in 2021 - full BW season data expected | 0:00:00 | 0 | 100 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00238 | Anglian Water | CLACTON PARK ROAD/VICARAGE GRD CSO | CLACTON-PARK RD/VICGE GDNS OV | ASECS12232 | ASECS3326/12232/V001 | A1 | SO on sewer network | TM1710013910 | GB650503520001 | Essex | THE NORTH SEA | Clacton Beach Martello Tower | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 99.979 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00236 | Anglian Water | CLACTON COLLINGWOOD RD/WASH LN CSO | CLACTON-COLLINGWOOD ROAD SO | ASECS12233 | ASECS12233/V001 | A1 | SO on sewer network | TM1710013910 | GB650503520001 | Essex | THE NORTH SEA | Clacton Beach Martello Tower | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 99.9951 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01565 | Anglian Water | HUNSTANTON SOUTH END ROAD TPS | HUNSTANTON SOUTH END ROAD TPS | AECCS660/10416 | AECCS660/10416/V001 | A1 | Storm discharge at pumping station | TF6600040160 | GB640523160000 | Wash Outer | THE WASH | Hunstanton Main Beach | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:30 | 1 | 100 |  |  | AMP8 (April 2025 to March 2030) - improvement | Marine Impact Modelling-derived | 2
AWS00662 | Anglian Water | JAYWICK BROOKLANDS GARDENS PS | JAYWICK-BROOKLANDS GDNS SP | ASENF3334/12238 | ASENF3334/12238/V001 | A1 | Storm discharge at pumping station | TM1417013120 | GB650503520001 | Essex | TRIB THE NORTH SEA | Jaywick | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 99.996 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00663 | Anglian Water | JAYWICK CLACTON 23 PARK SQUARE CSO | CLACTON-PARK SQ W JAYWIC SSO | ASENF3333/12237 | ASENF3333/12237/V001 | A1 | SO on sewer network | TM1465013690 | GB650503520001 | Essex | TRIBUTARY OF THE NORTH SEA | Jaywick | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:02 | 1 | 99.9948 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00515 | Anglian Water | GREAT YARMOUTH BOUNDARY ROAD PS | GT YARMOUTH-BOUNDARY RD SP | AEETS3291/12173 | AEETS3291/12173/V001 | A1 | Storm discharge at pumping station | TG5242006170 | GB510503410700 | BURE & WAVENEY & YARE & LOTHING | TIDAL RIVER YARE | Great Yarmouth South | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:22 | 4 | 99.967 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS01178 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-BURDETT ROAD CSO | S/WR86 | S/WR86/V001 | A1 | SO on sewer network | TQ8919084880 | GB530603911401 | THAMES LOWER | THE THAMES ESTUARY | Southend Jubilee; Southend Thorpe Bay; Southend Three Shells | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:32 | 2 | 99.9357 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 10
AWS01474 | Anglian Water | WEST MERSEA WATER RECYCLING CENTRE | WEST MERSEA STW | ASETS1320 | ASETS/1320/V006 | A2 | Storm tank at WwTW | TM0301012100 | GB650503200000 | Blackwater Outer | THE BLACKWATER ESTUARY | West Mersea | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:08 | 1 | 100 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS00146 | Anglian Water | BRIGHTLINGSEA STATION ROAD CSO | BRIGHTLINGSEA OVERFLOW (WESTERN ROAD) COMMUNITY CENTRE | ASENF3270/12167 | ASENF3270/12167/V001 | A1 | SO on sewer network | TM0812016640 | GB520503713800 | Colne Essex | THE WEST DYKE | Brightlingsea | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 99.9794 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00237 | Anglian Water | CLACTON GOLF GREEN ROAD JAYWICK CSO | CLACTON-GOLF GREEN ROAD CSO | ASETS3332/12240 | ASETS3332/12240/V001 | A1 | SO on sewer network | TM1530013590 | GB650503520001 | Essex | THE NORTH SEA | Jaywick | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:04 | 1 | 99.9966 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00143 | Anglian Water | BRIGHTLINGSEA CSO (BELLFIELD 35) | BRIGHTLINGSEA-BELLFLD A #35 OV | ASENF3270/12163 | ASENF3270/12163/V001 | A1 | SO on sewer network | TM0812016640 | GB520503713800 | Colne Essex | THE WEST DYKE | Brightlingsea | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 99.997 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00242 | Anglian Water | CLARENDON / HOLLAND ROAD CSO | CLACTON-CLARENDON/HOLLAND OV | ASECS33328/12234 | ASECS3328/12234/V001 | A1 | SO on sewer network | TM1951015350 | GB650503520001 | Essex | N.SEA VIA GUNFLEET LONG SEA OU | Clacton | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 100 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00697 | Anglian Water | KINGS RD PS | CLEETHORPES, KINGS ROAD PS | ANNTS13063 | ANNTS884/13063 | A1 | Storm discharge at pumping station | TA3273006640 | GB530402609201 | HUMBER LOWER | tidal section Buck Beck | Cleethorpes; Humberston Fitties | Coastal | Not Applicable | Commissioned in 2021 - full BW season data expected | 0:00:00 | 0 | 99.9972 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00297 | Anglian Water | CROMER PROMENADE TERMINAL PS | CROMER PROMENADE | AEECS868/12071 | AEECS868/12071/V001 | A1 | Storm discharge at pumping station | TG2155042440 | GB650503520003 | Norfolk East | THE NORTH SEA | Cromer | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 99.9977 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01021 | Anglian Water | QUEENS ROAD/ESPLANADE CSO | FRINTON-QUEENS ROAD SSO | ASECS3311/12194 | ASECS3311/12194/V001 | A1 | SO on sewer network | TM2407019710 | GB650503520001 | Essex | THE NORTH SEA | Frinton | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 1:38 | 1 | 99.8988 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS00453 | Anglian Water | FRINTON - ESPLANADE/SECOND AVE CSO | FRINTON-SECOND AVE SSO | ASECS3309/12191 | ASECS3309/12191/V001 | A1 | SO on sewer network | TM2354018870 | GB105037077810 | Holland Brook | THE NORTH SEA | Frinton | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:30 | 1 | 100 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01198 | Anglian Water | SOUTHGATE CA. INGOLDMELLS | INGOLDMELLS-SOUTH GATE CAMP | ANNNF2604 | ANNNF2604A | A1 | Storm discharge at pumping station | TF5700068400 | GB105029061700 | Ingoldmells Main Drain | Trib to Ingoldmells Main Drain | Ingoldmells South | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 99.9991 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01070 | Anglian Water | ROYAL NORFOLK & SUFFOLK YACHT CLUB | LOWESTOFT ROYAL NORFOLK & SUFFOLK YACHT CLUB PUMPING STATION | AW4TS12090 | AW4TS12090/V003 | A1 | Storm discharge at pumping station | TM5479092690 | GB510503410700 | BURE & WAVENEY & YARE & LOTHING | NORTH SEA VIA OUTER HARBOUR | Lowestoft (North of Claremont Pier) | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 100 |  |  | AMP7 (Apr 2020 to Mar 2025) - improvement | Marine Impact Modelling-derived | 2
AWS00788 | Anglian Water | LOWESTOFT ST JOHN'S ROAD CSO | LOWESTOFT-ST JOHN'S ROAD CSO | ASETS4082/16950 | ASETS4082/16950/V001 | A1 | SO on sewer network | TM5464092670 | GB105034045903 | Waveney (Ellingham Mill - Burgh St. Peter) | LAKE LOTHING | Lowestoft (North of Claremont Pier) | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 1:16 | 4 | 100 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01123 | Anglian Water | SHERINGHM EBEACH SEW TK | SHERINGHAM BEACH RD | AEECS867/12070 | AEECS867/12070/V001 | A1 | Storm discharge at pumping station | TG1601043470 | GB650503520003 | Norfolk East | North Sea | Sheringham | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 1:54 | 3 | 99.9832 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01169 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-RETREAT ROAD CSO | S/WR80 | ASTTS3458/8A | A1 | SO on sewer network | TQ8701084990 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Westcliff Bay; Southend Three Shells | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 0:30 | 1 | 99.9866 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01192 | Anglian Water | CHALKWELL ESPLANADE OUTFALL | SOUTHEND ON SEA, RIDGEWAY/CHALK CSO (LOW LEVEL)ESPLANADE O/F | S/WR480 | ASTTS3726/3A | A2 | SO on sewer network | TQ8535085460 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Chalkwell; Leigh Bell Wharf; Southend Westcliff Bay | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 0:00:00 | 0 | 100 |  |  | AMP7 (Apr 2020 to Mar 2025) - investigation | Marine Impact Modelling-derived | Not Applicable
AWS00395 | Anglian Water | ELIZABETH ROAD OUTFALL | SOUTHEND ON SEA, VICTORIA RD CSO ELIZ.RD O/F | S/WR479 | ASTTS3726/1A | A2 | SO on sewer network | TQ9001084720 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Jubilee; Southend Thorpe Bay | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 0:45 | 1 | 99.9949 |  |  | AMP7 (Apr 2020 to Mar 2025) - investigation | Marine Impact Modelling-derived | Not Applicable
AWS00396 | Anglian Water | ELIZABETH ROAD OUTFALL | SOUTHEND ON SEA, WOODGRANGE DR/PARK LANE CSO ELIZ.RD O/F | S/WR479 | ASTTS3726/1 | A1 | SO on sewer network | TQ9001084720 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Jubilee; Southend Three Shells | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 0:30 | 1 | 99.0359 |  |  | AMP7 (Apr 2020 to Mar 2025) - investigation | Marine Impact Modelling-derived | Not Applicable
AWS01190 | Anglian Water | SOUTHEND PRITTLE BROOK STORAGE TANK | SOUTHEND PRITTLE BROOK STORAGE TANK | S/WR76 | S/WR76/V001 | A1 | SO on sewer network | TQ8536085460 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Chalkwell; Leigh Bell Wharf; Southend Westcliff Bay | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 100 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 10
AWS01187 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND, RAMPART ST SPS | S/WR91 | S/WR91/V001 | A1 | Storm discharge at pumping station | TQ9420084650 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Shoebury East | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 0:00:00 | 0 | 100 |  |  | AMP8 (April 2025 to March 2030) - investigation | Spill Frequency Emission Standard | Not Applicable
AWS01168 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-CANEWDON ROAD CSO | S/WR81 | ASTTS3458/25A | A2 | SO on sewer network | TQ8694085160 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Westcliff Bay; Southend Three Shells | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 1:15 | 2 | 100 |  |  | AMP7 (Apr 2020 to Mar 2025) - investigation | Marine Impact Modelling-derived | Not Applicable
AWS01167 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-HAMLET CT RD CSO | S/WR79 | S/WR79/V001 | A1 | SO on sewer network | TQ8660085180 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Westcliff Bay; Southend Chalkwell | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 0:30 | 2 | 99.9931 |  |  | AMP7 (Apr 2020 to Mar 2025) - investigation | Marine Impact Modelling-derived | Not Applicable
AWS01177 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-HARTINGTON RD | S/WR85 | S/WR85/V001 | A1 | SO on sewer network | TQ8881085010 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Jubilee; Southend Three Shells | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 0:00:00 | 0 | 99.9993 |  |  | AMP8 (April 2025 to March 2030) - improvement | Marine Impact Modelling-derived | 2
AWS01179 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-MANILLA RD BF | S/WR87 | S/WR87/V001 | A1 | SO on sewer network | TQ8970084740 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Jubilee; Southend Thorpe Bay | Coastal | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:22 | 1 | 60.4529 | Comms failure / issue | Resolved - September | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS01186 | Anglian Water | SOUTHEND - BELTON GARDENS PS | SOUTHEND-NESS ROAD | S/WR90 | S/WR90/V001 | A1 | Storm discharge at pumping station | TQ9249084000 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Shoeburyness | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 4:30 | 9 | 99.7032 |  |  | AMP8 (April 2025 to March 2030) - improvement | Spill Frequency Emission Standard | 2
AWS01334 | Anglian Water | SUDBURY WATER RECYCLING CENTRE | SUDBURY STW | ASENF1314 | ASENF1314/V005 | A2 | Storm tank at WwTW | TL8623041230 | GB105036040941 | Stour (Wixoe - Lamarsh) | Tributary River Stour NT | Friars Meadow, River Stour | River | Not Applicable | Commissioned in 2018 - full BW season data expected | 0:00:00 | 0 | 100 |  |  | AMP7 (Apr 2020 to Mar 2025) - improvement | Other (e.g. Asset Capacity such as Formula A or 68L/head) | Not Applicable
AWS01191 | Anglian Water | SOUTHEND PRITTLE BROOK STORAGE TANK | SOUTHEND-CHALKWELL/RIDGEWAY OV | S/WR480 | ASTTS3726/3 | A1 | SO on sewer network | TQ8535085460 | GB530603911401 | THAMES LOWER | THAMES ESTUARY | Southend Chalkwell; Leigh Bell Wharf; Southend Westcliff Bay | Coastal | Not Applicable | Commissioned in 2023 - full BW season data expected | 0:00:00 | 0 | 100 |  |  | AMP7 (Apr 2020 to Mar 2025) - investigation | Marine Impact Modelling-derived | Not Applicable